## tmp56C7
Data:
LDF file: C:\Users\ram20010\Documents\Linkam\LINK\DataFiles\Unknown sample 13-10-25 18-00-17-04.ldf
LDF file version: V2.1
Status: Original data run
Source: C:\Users\ram20010\Documents\Linkam\LINK\DataFiles\Unknown sample 13-10-25 18-00-17-04.ldf
Recorded: 10/13/2025 6:00 PM
Requested Sample Period (s):0.1992298
User: UCONN\ram20010
Computer: 58P19K3
Data points: 179
Images: 0
TASC data points: 0
Data run notes:
Sample: Unknown sample
Notes:
Sample Calibration:
ON. Temperature values were corrected using Sample Calibration.
Sample Cal pairs: ( 10.0, 10.0) ( 20.0, 20.0) ( 30.0, 30.0) ( 40.0, 40.0) ( 50.0, 50.0)
Optical system:
Microscope: Microscope
Microscope sn:
C-Mount:
C-Mount sn:
Camera:
Camera sn:
Current objective: Objective 2
Name: 10x
SN:10
Scale Factor: 0.6210043
Saved Objectives:
Objective 1: 5x
Objective 1 sn: 5
Objective 1 scale factor: 1.240694
Micrometer 1 : L
Micrometer 1 sn: -
Objective 2: 10x
Objective 2 sn: 10
Objective 2 scale factor: 0.6210043
Micrometer 2 : L
Micrometer 2 sn: -
Objective 3: 20x
Objective 3 sn: 20
Objective 3 scale factor: 0.3086996
Micrometer 3 : L
Micrometer 3 sn: -
Objective 4: 50x
Objective 4 sn: 50
Objective 4 scale factor: 0.1242687
Micrometer 4 : L
Micrometer 4 sn: -
Objective 5: Objective
Objective 5 sn:
Objective 5 scale factor: 1
Micrometer 5 :
Micrometer 5 sn:
Objective 6: Objective
Objective 6 sn:
Objective 6 scale factor: 1
Micrometer 6 :
Micrometer 6 sn:
Instruments:
T9X Type: T96-S
T9X s/num: 14100-3086
T9X HVer: V 1.3
T9X FVer: V1.43
T9X slot1 card: T96 Stepper Motor TST
T9X slot1 card s/num: 14107-0368
T9X slot1 card HVer: V 1.1
T9X slot1 cable: MFS Stage
T9X slot1 cable s/num: 11106-0102
T9X slot1 cable HVer: V 1.0
T9X slot1 enabled: True
T9X slot2 card: N/A
T9X slot3 card: N/A
T9X slot4 card: T96 Tensile
T9X slot4 card s/num: 14109-0163
T9X slot4 card HVer: V 1.1
T9X slot4 cable: 200N Gauge
T9X slot4 cable s/num: 9141-0084
T9X slot4 cable HVer: V 1.0
T9X slot4 enabled: True
Stage: MFS60
Stage s/num: 9409-0009
Stage HVer: V 1.0
Stage beam: 200N
Sample width: 10.000mm
Sample height: 0.100mm
LinkPad: Linkpad
LinkPad s/num: xxxx-xxxxx-xxxx
LinkPad HVer:
LinkPad FVer: V1.43
WCP:
WCP s/num:
WCP HVer:
WCP FVer:
| Temperature | Force |  | Extension |  | Strain |  | Stress |  | Gap |  | Rh |  | Rhtemp |  | Image |  | Intensity |  | Tasc |  | TriggerBlue |  | TriggerGreen |  | TriggerPink |  | Force V Distance
Index |  | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y
0 |  | 0.199 | 0.013 | 0.1992 | 0.0538 | 0.19923 | 0.00265 | 0.19923 | 0.01316 | 0.1992 | 15.0538 | [16 empty] | 0.054 | 0.013
1 |  | 0.398 | 0.157 | 0.3985 | 0.0662 | 0.39846 | 0.00082 | 0.39846 | 0.15727 | 0.3985 | 15.0662 | [16 empty] | 0.066 | 0.157
2 |  | 0.598 | 1.33 | 0.5977 | 0.1124 | 0.59769 | 0.00389 | 0.59769 | 1.3299 | 0.5977 | 15.1124 | [16 empty] | 0.112 | 1.33
3 |  | 0.797 | 2.509 | 0.7969 | 0.1401 | 0.79692 | 0.00573 | 0.79692 | 2.5088 | 0.7969 | 15.1401 | [16 empty] | 0.14 | 2.509
4 |  | 0.996 | 4.595 | 0.9961 | 0.1894 | 0.99615 | 0.00901 | 0.99615 | 4.5952 | 0.9961 | 15.1894 | [16 empty] | 0.189 | 4.595
5 |  | 1.195 | 5.861 | 1.1954 | 0.2183 | 1.1954 | 0.01093 | 1.1954 | 5.8606 | 1.1954 | 15.2183 | [16 empty] | 0.218 | 5.861
6 |  | 1.395 | 7.527 | 1.3946 | 0.2566 | 1.3946 | 0.01347 | 1.3946 | 7.5268 | 1.3946 | 15.2566 | [16 empty] | 0.257 | 7.527
7 |  | 1.594 | 9.137 | 1.5938 | 0.2968 | 1.5938 | 0.01614 | 1.5938 | 9.1373 | 1.5938 | 15.2968 | [16 empty] | 0.297 | 9.137
8 |  | 1.793 | 11.045 | 1.7931 | 0.3483 | 1.7931 | 0.01956 | 1.7931 | 11.0448 | 1.7931 | 15.3483 | [16 empty] | 0.348 | 11.045
9 |  | 1.992 | 12.455 | 1.9923 | 0.3885 | 1.9923 | 0.02223 | 1.9923 | 12.4547 | 1.9923 | 15.3885 | [16 empty] | 0.388 | 12.455
10 |  | 2.192 | 13.432 | 2.1915 | 0.4187 | 2.1915 | 0.02424 | 2.1915 | 13.432 | 2.1915 | 15.4187 | [16 empty] | 0.419 | 13.432
11 |  | 2.391 | 14.884 | 2.3908 | 0.47 | 2.3908 | 0.02764 | 2.3908 | 14.8838 | 2.3908 | 15.47 | [16 empty] | 0.47 | 14.884
12 |  | 2.59 | 15.914 | 2.59 | 0.5013 | 2.59 | 0.02972 | 2.59 | 15.9141 | 2.59 | 15.5013 | [16 empty] | 0.501 | 15.914
13 |  | 2.789 | 16.824 | 2.7892 | 0.5413 | 2.7892 | 0.03238 | 2.7892 | 16.8241 | 2.7892 | 15.5413 | [16 empty] | 0.541 | 16.824
14 |  | 2.988 | 17.619 | 2.9884 | 0.5799 | 2.9884 | 0.03495 | 2.9884 | 17.6193 | 2.9884 | 15.5799 | [16 empty] | 0.58 | 17.619
15 |  | 3.188 | 18.307 | 3.1877 | 0.6302 | 3.1877 | 0.03829 | 3.1877 | 18.3075 | 3.1877 | 15.6302 | [16 empty] | 0.63 | 18.307
16 |  | 3.387 | 18.907 | 3.3869 | 0.6595 | 3.3869 | 0.04023 | 3.3869 | 18.9068 | 3.3869 | 15.6595 | [16 empty] | 0.659 | 18.907
17 |  | 3.586 | 19.423 | 3.5861 | 0.7063 | 3.5861 | 0.04334 | 3.5861 | 19.4231 | 3.5861 | 15.7063 | [16 empty] | 0.706 | 19.423
18 |  | 3.785 | 19.868 | 3.7854 | 0.7344 | 3.7854 | 0.04521 | 3.7854 | 19.8684 | 3.7854 | 15.7344 | [16 empty] | 0.734 | 19.868
19 |  | 3.985 | 20.268 | 3.9846 | 0.7845 | 3.9846 | 0.04854 | 3.9846 | 20.2682 | 3.9846 | 15.7845 | [16 empty] | 0.784 | 20.268
20 |  | 4.184 | 20.631 | 4.1838 | 0.8238 | 4.1838 | 0.05114 | 4.1838 | 20.6305 | 4.1838 | 15.8238 | [16 empty] | 0.824 | 20.631
21 |  | 4.383 | 20.956 | 4.3831 | 0.8527 | 4.383 | 0.05307 | 4.383 | 20.9563 | 4.3831 | 15.8527 | [16 empty] | 0.853 | 20.956
22 |  | 4.582 | 21.177 | 4.5823 | 0.8928 | 4.5823 | 0.05573 | 4.5823 | 21.1766 | 4.5823 | 15.8928 | [16 empty] | 0.893 | 21.177
23 |  | 4.782 | 21.513 | 4.7815 | 0.9348 | 4.7815 | 0.05852 | 4.7815 | 21.5126 | 4.7815 | 15.9348 | [16 empty] | 0.935 | 21.513
24 |  | 4.981 | 21.805 | 4.9807 | 0.9838 | 4.9807 | 0.06178 | 4.9807 | 21.805 | 4.9807 | 15.9838 | [16 empty] | 0.984 | 21.805
25 |  | 5.18 | 21.961 | 5.18 | 1.0142 | 5.18 | 0.06379 | 5.18 | 21.9609 | 5.18 | 16.0142 | [16 empty] | 1.014 | 21.961
26 |  | 5.379 | 22.196 | 5.3792 | 1.0643 | 5.3792 | 0.06712 | 5.3792 | 22.1962 | 5.3792 | 16.0643 | [16 empty] | 1.064 | 22.196
27 |  | 5.578 | 22.337 | 5.5784 | 1.0949 | 5.5784 | 0.06916 | 5.5784 | 22.3375 | 5.5784 | 16.0949 | [16 empty] | 1.095 | 22.337
28 |  | 5.778 | 22.514 | 5.7777 | 1.1339 | 5.7777 | 0.07175 | 5.7777 | 22.5137 | 5.7777 | 16.1339 | [16 empty] | 1.134 | 22.514
29 |  | 5.977 | 22.678 | 5.9769 | 1.1808 | 5.9769 | 0.07486 | 5.9769 | 22.6779 | 5.9769 | 16.1808 | [16 empty] | 1.181 | 22.678
30 |  | 6.176 | 22.827 | 6.1761 | 1.2103 | 6.1761 | 0.07682 | 6.1761 | 22.8271 | 6.1761 | 16.2103 | [16 empty] | 1.21 | 22.827
31 |  | 6.375 | 22.971 | 6.3754 | 1.2489 | 6.3754 | 0.07938 | 6.3754 | 22.971 | 6.3754 | 16.2489 | [16 empty] | 1.249 | 22.971
32 |  | 6.575 | 23.099 | 6.5746 | 1.2847 | 6.5746 | 0.08176 | 6.5746 | 23.0988 | 6.5746 | 16.2847 | [16 empty] | 1.285 | 23.099
33 |  | 6.774 | 23.215 | 6.7738 | 1.3219 | 6.7738 | 0.08424 | 6.7738 | 23.2145 | 6.7738 | 16.3219 | [16 empty] | 1.322 | 23.215
34 |  | 6.973 | 23.333 | 6.973 | 1.3614 | 6.973 | 0.08686 | 6.973 | 23.3331 | 6.973 | 16.3614 | [16 empty] | 1.361 | 23.333
35 |  | 7.172 | 23.459 | 7.1723 | 1.411 | 7.1723 | 0.09016 | 7.1723 | 23.4586 | 7.1723 | 16.411 | [16 empty] | 1.411 | 23.459
36 |  | 7.372 | 23.581 | 7.3715 | 1.4401 | 7.3715 | 0.09209 | 7.3715 | 23.5807 | 7.3715 | 16.4401 | [16 empty] | 1.44 | 23.581
37 |  | 7.571 | 23.689 | 7.5707 | 1.4806 | 7.5707 | 0.09478 | 7.5707 | 23.6891 | 7.5707 | 16.4806 | [16 empty] | 1.481 | 23.689
38 |  | 7.77 | 23.793 | 7.77 | 1.5231 | 7.77 | 0.0976 | 7.77 | 23.7933 | 7.77 | 16.5231 | [16 empty] | 1.523 | 23.793
39 |  | 7.969 | 23.889 | 7.9692 | 1.5632 | 7.9692 | 0.10027 | 7.9692 | 23.8885 | 7.9692 | 16.5632 | [16 empty] | 1.563 | 23.889
40 |  | 8.168 | 23.975 | 8.1684 | 1.6044 | 8.1684 | 0.103 | 8.1684 | 23.9749 | 8.1684 | 16.6044 | [16 empty] | 1.604 | 23.975
41 |  | 8.368 | 24.057 | 8.3676 | 1.6452 | 8.3676 | 0.10571 | 8.3676 | 24.0569 | 8.3676 | 16.6452 | [16 empty] | 1.645 | 24.057
42 |  | 8.567 | 24.182 | 8.5669 | 1.6983 | 8.5669 | 0.10924 | 8.5669 | 24.1815 | 8.5669 | 16.6983 | [16 empty] | 1.698 | 24.182
43 |  | 8.766 | 24.259 | 8.7661 | 1.7286 | 8.7661 | 0.11125 | 8.7661 | 24.2585 | 8.7661 | 16.7286 | [16 empty] | 1.729 | 24.259
44 |  | 8.965 | 24.359 | 8.9653 | 1.7677 | 8.9653 | 0.11385 | 8.9653 | 24.3589 | 8.9653 | 16.7677 | [16 empty] | 1.768 | 24.359
45 |  | 9.165 | 24.476 | 9.1646 | 1.8179 | 9.1646 | 0.11718 | 9.1646 | 24.4765 | 9.1646 | 16.8179 | [16 empty] | 1.818 | 24.476
46 |  | 9.364 | 24.545 | 9.3638 | 1.8475 | 9.3638 | 0.11915 | 9.3638 | 24.5453 | 9.3638 | 16.8475 | [16 empty] | 1.847 | 24.545
47 |  | 9.563 | 24.645 | 9.563 | 1.8936 | 9.563 | 0.12221 | 9.563 | 24.645 | 9.563 | 16.8936 | [16 empty] | 1.894 | 24.645
48 |  | 9.762 | 24.702 | 9.7623 | 1.9222 | 9.7623 | 0.12412 | 9.7623 | 24.7022 | 9.7623 | 16.9222 | [16 empty] | 1.922 | 24.702
49 |  | 9.961 | 24.809 | 9.9615 | 1.9714 | 9.9615 | 0.12738 | 9.9615 | 24.8087 | 9.9615 | 16.9714 | [16 empty] | 1.971 | 24.809
50 |  | 10.161 | 24.878 | 10.1607 | 2.0009 | 10.1607 | 0.12934 | 10.1607 | 24.878 | 10.1607 | 17.0009 | [16 empty] | 2.001 | 24.878
51 |  | 10.36 | 24.987 | 10.36 | 2.0493 | 10.3599 | 0.13256 | 10.3599 | 24.987 | 10.36 | 17.0493 | [16 empty] | 2.049 | 24.987
52 |  | 10.559 | 25.049 | 10.5592 | 2.0793 | 10.5592 | 0.13455 | 10.5592 | 25.0492 | 10.5592 | 17.0793 | [16 empty] | 2.079 | 25.049
53 |  | 10.758 | 25.133 | 10.7584 | 2.1209 | 10.7584 | 0.13731 | 10.7584 | 25.1329 | 10.7584 | 17.1209 | [16 empty] | 2.121 | 25.133
54 |  | 10.958 | 25.235 | 10.9576 | 2.1712 | 10.9576 | 0.14065 | 10.9576 | 25.2355 | 10.9576 | 17.1712 | [16 empty] | 2.171 | 25.235
55 |  | 11.157 | 25.286 | 11.1569 | 2.2021 | 11.1569 | 0.14271 | 11.1569 | 25.286 | 11.1569 | 17.2021 | [16 empty] | 2.202 | 25.286
56 |  | 11.356 | 25.354 | 11.3561 | 2.2431 | 11.3561 | 0.14543 | 11.3561 | 25.3541 | 11.3561 | 17.2431 | [16 empty] | 2.243 | 25.354
57 |  | 11.555 | 25.44 | 11.5553 | 2.2846 | 11.5553 | 0.14819 | 11.5553 | 25.4404 | 11.5553 | 17.2846 | [16 empty] | 2.285 | 25.44
58 |  | 11.755 | 25.551 | 11.7546 | 2.3345 | 11.7546 | 0.1515 | 11.7546 | 25.5512 | 11.7546 | 17.3345 | [16 empty] | 2.335 | 25.551
59 |  | 11.954 | 25.636 | 11.9538 | 2.3734 | 11.9538 | 0.15409 | 11.9538 | 25.6365 | 11.9538 | 17.3734 | [16 empty] | 2.373 | 25.636
60 |  | 12.153 | 25.699 | 12.153 | 2.4039 | 12.153 | 0.15611 | 12.153 | 25.6994 | 12.153 | 17.4039 | [16 empty] | 2.404 | 25.699
61 |  | 12.352 | 25.786 | 12.3523 | 2.4441 | 12.3522 | 0.15878 | 12.3522 | 25.786 | 12.3523 | 17.4441 | [16 empty] | 2.444 | 25.786
62 |  | 12.551 | 25.878 | 12.5515 | 2.4915 | 12.5515 | 0.16193 | 12.5515 | 25.878 | 12.5515 | 17.4915 | [16 empty] | 2.491 | 25.878
63 |  | 12.751 | 25.927 | 12.7507 | 2.5205 | 12.7507 | 0.16386 | 12.7507 | 25.9274 | 12.7507 | 17.5205 | [16 empty] | 2.52 | 25.927
64 |  | 12.95 | 26.002 | 12.9499 | 2.5614 | 12.9499 | 0.16657 | 12.9499 | 26.0019 | 12.9499 | 17.5614 | [16 empty] | 2.561 | 26.002
65 |  | 13.149 | 26.112 | 13.1492 | 2.602 | 13.1492 | 0.16927 | 13.1492 | 26.1124 | 13.1492 | 17.602 | [16 empty] | 2.602 | 26.112
66 |  | 13.348 | 26.18 | 13.3484 | 2.6416 | 13.3484 | 0.1719 | 13.3484 | 26.1797 | 13.3484 | 17.6416 | [16 empty] | 2.642 | 26.18
67 |  | 13.548 | 26.279 | 13.5476 | 2.683 | 13.5476 | 0.17465 | 13.5476 | 26.279 | 13.5476 | 17.683 | [16 empty] | 2.683 | 26.279
68 |  | 13.747 | 26.342 | 13.7469 | 2.7264 | 13.7469 | 0.17754 | 13.7469 | 26.3425 | 13.7469 | 17.7264 | [16 empty] | 2.726 | 26.342
69 |  | 13.946 | 26.421 | 13.9461 | 2.7677 | 13.9461 | 0.18028 | 13.9461 | 26.4207 | 13.9461 | 17.7677 | [16 empty] | 2.768 | 26.421
70 |  | 14.145 | 26.507 | 14.1453 | 2.8203 | 14.1453 | 0.18377 | 14.1453 | 26.5067 | 14.1453 | 17.8203 | [16 empty] | 2.82 | 26.507
71 |  | 14.345 | 26.553 | 14.3446 | 2.852 | 14.3445 | 0.18588 | 14.3445 | 26.5531 | 14.3446 | 17.852 | [16 empty] | 2.852 | 26.553
72 |  | 14.544 | 26.662 | 14.5438 | 2.9056 | 14.5438 | 0.18944 | 14.5438 | 26.6622 | 14.5438 | 17.9056 | [16 empty] | 2.906 | 26.662
73 |  | 14.743 | 26.756 | 14.743 | 2.9362 | 14.743 | 0.19147 | 14.743 | 26.7558 | 14.743 | 17.9362 | [16 empty] | 2.936 | 26.756
74 |  | 14.942 | 26.824 | 14.9422 | 2.9756 | 14.9422 | 0.19409 | 14.9422 | 26.824 | 14.9422 | 17.9756 | [16 empty] | 2.976 | 26.824
75 |  | 15.141 | 26.934 | 15.1415 | 3.0267 | 15.1415 | 0.19748 | 15.1415 | 26.9339 | 15.1415 | 18.0267 | [16 empty] | 3.027 | 26.934
76 |  | 15.341 | 27.021 | 15.3407 | 3.0564 | 15.3407 | 0.19946 | 15.3407 | 27.0212 | 15.3407 | 18.0564 | [16 empty] | 3.056 | 27.021
77 |  | 15.54 | 27.08 | 15.5399 | 3.0939 | 15.5399 | 0.20195 | 15.5399 | 27.0799 | 15.5399 | 18.0939 | [16 empty] | 3.094 | 27.08
78 |  | 15.739 | 27.168 | 15.7392 | 3.1421 | 15.7392 | 0.20515 | 15.7392 | 27.1684 | 15.7392 | 18.1421 | [16 empty] | 3.142 | 27.168
79 |  | 15.938 | 27.228 | 15.9384 | 3.1727 | 15.9384 | 0.20718 | 15.9384 | 27.2283 | 15.9384 | 18.1727 | [16 empty] | 3.173 | 27.228
80 |  | 16.138 | 27.347 | 16.1376 | 3.2226 | 16.1376 | 0.21049 | 16.1376 | 27.3469 | 16.1376 | 18.2226 | [16 empty] | 3.223 | 27.347
81 |  | 16.337 | 27.445 | 16.3369 | 3.2517 | 16.3369 | 0.21243 | 16.3369 | 27.4448 | 16.3369 | 18.2517 | [16 empty] | 3.252 | 27.445
82 |  | 16.536 | 27.527 | 16.5361 | 3.3029 | 16.5361 | 0.21583 | 16.5361 | 27.5268 | 16.5361 | 18.3029 | [16 empty] | 3.303 | 27.527
83 |  | 16.735 | 27.615 | 16.7353 | 3.3346 | 16.7353 | 0.21793 | 16.7353 | 27.615 | 16.7353 | 18.3346 | [16 empty] | 3.335 | 27.615
84 |  | 16.935 | 27.676 | 16.9345 | 3.3745 | 16.9346 | 0.22059 | 16.9346 | 27.6762 | 16.9345 | 18.3745 | [16 empty] | 3.374 | 27.676
85 |  | 17.134 | 27.77 | 17.1338 | 3.4154 | 17.1338 | 0.2233 | 17.1338 | 27.7695 | 17.1338 | 18.4154 | [16 empty] | 3.415 | 27.77
86 |  | 17.333 | 27.84 | 17.333 | 3.456 | 17.333 | 0.226 | 17.333 | 27.8399 | 17.333 | 18.456 | [16 empty] | 3.456 | 27.84
87 |  | 17.532 | 27.91 | 17.5322 | 3.4977 | 17.5322 | 0.22877 | 17.5322 | 27.9099 | 17.5322 | 18.4977 | [16 empty] | 3.498 | 27.91
88 |  | 17.731 | 28.034 | 17.7315 | 3.5469 | 17.7315 | 0.23204 | 17.7315 | 28.0341 | 17.7315 | 18.5469 | [16 empty] | 3.547 | 28.034
89 |  | 17.931 | 28.13 | 17.9307 | 3.5754 | 17.9307 | 0.23393 | 17.9307 | 28.1298 | 17.9307 | 18.5754 | [16 empty] | 3.575 | 28.13
90 |  | 18.13 | 28.197 | 18.1299 | 3.6151 | 18.1299 | 0.23657 | 18.1299 | 28.1969 | 18.1299 | 18.6151 | [16 empty] | 3.615 | 28.197
91 |  | 18.329 | 28.315 | 18.3292 | 3.654 | 18.3292 | 0.23915 | 18.3292 | 28.3153 | 18.3292 | 18.654 | [16 empty] | 3.654 | 28.315
92 |  | 18.528 | 28.397 | 18.5284 | 3.7 | 18.5284 | 0.24221 | 18.5284 | 28.3971 | 18.5284 | 18.7 | [16 empty] | 3.7 | 28.397
93 |  | 18.728 | 28.469 | 18.7276 | 3.7278 | 18.7276 | 0.24406 | 18.7276 | 28.4689 | 18.7276 | 18.7278 | [16 empty] | 3.728 | 28.469
94 |  | 18.927 | 28.587 | 18.9268 | 3.7778 | 18.9269 | 0.24737 | 18.9269 | 28.5872 | 18.9268 | 18.7778 | [16 empty] | 3.778 | 28.587
95 |  | 19.126 | 28.671 | 19.1261 | 3.817 | 19.1261 | 0.24998 | 19.1261 | 28.6708 | 19.1261 | 18.817 | [16 empty] | 3.817 | 28.671
96 |  | 19.325 | 28.806 | 19.3253 | 3.8558 | 19.3253 | 0.25256 | 19.3253 | 28.8062 | 19.3253 | 18.8558 | [16 empty] | 3.856 | 28.806
97 |  | 19.525 | 28.874 | 19.5245 | 3.8865 | 19.5245 | 0.2546 | 19.5245 | 28.8742 | 19.5245 | 18.8865 | [16 empty] | 3.887 | 28.874
98 |  | 19.724 | 28.962 | 19.7238 | 3.9286 | 19.7238 | 0.2574 | 19.7238 | 28.9622 | 19.7238 | 18.9286 | [16 empty] | 3.929 | 28.962
99 |  | 19.923 | 29.042 | 19.923 | 3.9784 | 19.923 | 0.2607 | 19.923 | 29.042 | 19.923 | 18.9784 | [16 empty] | 3.978 | 29.042
100 |  | 20.122 | 29.114 | 20.1222 | 4.0093 | 20.1222 | 0.26275 | 20.1222 | 29.1138 | 20.1222 | 19.0093 | [16 empty] | 4.009 | 29.114
101 |  | 20.321 | 29.184 | 20.3215 | 4.0498 | 20.3215 | 0.26544 | 20.3215 | 29.1843 | 20.3215 | 19.0498 | [16 empty] | 4.05 | 29.184
102 |  | 20.521 | 29.307 | 20.5207 | 4.102 | 20.5207 | 0.26891 | 20.5207 | 29.3066 | 20.5207 | 19.102 | [16 empty] | 4.102 | 29.307
103 |  | 20.72 | 29.388 | 20.7199 | 4.132 | 20.7199 | 0.2709 | 20.7199 | 29.3877 | 20.7199 | 19.132 | [16 empty] | 4.132 | 29.388
104 |  | 20.919 | 29.493 | 20.9192 | 4.1707 | 20.9191 | 0.27348 | 20.9191 | 29.4934 | 20.9192 | 19.1707 | [16 empty] | 4.171 | 29.493
105 |  | 21.118 | 29.586 | 21.1184 | 4.2109 | 21.1184 | 0.27615 | 21.1184 | 29.5857 | 21.1184 | 19.2109 | [16 empty] | 4.211 | 29.586
106 |  | 21.318 | 29.68 | 21.3176 | 4.2506 | 21.3176 | 0.27878 | 21.3176 | 29.6804 | 21.3176 | 19.2506 | [16 empty] | 4.251 | 29.68
107 |  | 21.517 | 29.762 | 21.5168 | 4.2876 | 21.5168 | 0.28124 | 21.5168 | 29.7621 | 21.5168 | 19.2876 | [16 empty] | 4.288 | 29.762
108 |  | 21.716 | 29.836 | 21.7161 | 4.326 | 21.7161 | 0.2838 | 21.7161 | 29.8358 | 21.7161 | 19.3261 | [16 empty] | 4.326 | 29.836
109 |  | 21.915 | 29.953 | 21.9153 | 4.3764 | 21.9153 | 0.28714 | 21.9153 | 29.9532 | 21.9153 | 19.3764 | [16 empty] | 4.376 | 29.953
110 |  | 22.115 | 30.036 | 22.1145 | 4.4064 | 22.1145 | 0.28913 | 22.1145 | 30.0362 | 22.1145 | 19.4064 | [16 empty] | 4.406 | 30.036
111 |  | 22.314 | 30.143 | 22.3138 | 4.4451 | 22.3138 | 0.2917 | 22.3138 | 30.143 | 22.3138 | 19.4451 | [16 empty] | 4.445 | 30.143
112 |  | 22.513 | 30.235 | 22.513 | 4.4852 | 22.513 | 0.29437 | 22.513 | 30.2345 | 22.513 | 19.4852 | [16 empty] | 4.485 | 30.235
113 |  | 22.712 | 30.33 | 22.7122 | 4.5272 | 22.7122 | 0.29716 | 22.7122 | 30.3296 | 22.7122 | 19.5272 | [16 empty] | 4.527 | 30.33
114 |  | 22.911 | 30.441 | 22.9115 | 4.5767 | 22.9114 | 0.30045 | 22.9114 | 30.4413 | 22.9115 | 19.5767 | [16 empty] | 4.577 | 30.441
115 |  | 23.111 | 30.525 | 23.1107 | 4.6172 | 23.1107 | 0.30314 | 23.1107 | 30.5245 | 23.1107 | 19.6172 | [16 empty] | 4.617 | 30.525
116 |  | 23.31 | 30.585 | 23.3099 | 4.6474 | 23.3099 | 0.30514 | 23.3099 | 30.5855 | 23.3099 | 19.6474 | [16 empty] | 4.647 | 30.585
117 |  | 23.509 | 30.724 | 23.5091 | 4.699 | 23.5091 | 0.30857 | 23.5091 | 30.7244 | 23.5091 | 19.699 | [16 empty] | 4.699 | 30.724
118 |  | 23.708 | 30.84 | 23.7084 | 4.7285 | 23.7084 | 0.31053 | 23.7084 | 30.8401 | 23.7084 | 19.7285 | [16 empty] | 4.729 | 30.84
119 |  | 23.908 | 30.921 | 23.9076 | 4.7665 | 23.9076 | 0.31305 | 23.9076 | 30.9205 | 23.9076 | 19.7665 | [16 empty] | 4.766 | 30.921
120 |  | 24.107 | 31.041 | 24.1068 | 4.8055 | 24.1068 | 0.31564 | 24.1068 | 31.0405 | 24.1068 | 19.8055 | [16 empty] | 4.805 | 31.041
121 |  | 24.306 | 31.111 | 24.3061 | 4.8443 | 24.3061 | 0.31822 | 24.3061 | 31.111 | 24.3061 | 19.8443 | [16 empty] | 4.844 | 31.111
122 |  | 24.505 | 31.212 | 24.5053 | 4.8896 | 24.5053 | 0.32123 | 24.5053 | 31.2118 | 24.5053 | 19.8896 | [16 empty] | 4.89 | 31.212
123 |  | 24.705 | 31.268 | 24.7045 | 4.9178 | 24.7045 | 0.32311 | 24.7045 | 31.268 | 24.7045 | 19.9178 | [16 empty] | 4.918 | 31.268
124 |  | 24.904 | 31.377 | 24.9038 | 4.9569 | 24.9038 | 0.3257 | 24.9038 | 31.3766 | 24.9038 | 19.9569 | [16 empty] | 4.957 | 31.377
125 |  | 25.103 | 31.455 | 25.103 | 4.9964 | 25.103 | 0.32832 | 25.103 | 31.4554 | 25.103 | 19.9964 | [16 empty] | 4.996 | 31.455
126 |  | 25.302 | 31.582 | 25.3022 | 5.0449 | 25.3022 | 0.33155 | 25.3022 | 31.5816 | 25.3022 | 20.0449 | [16 empty] | 5.045 | 31.582
127 |  | 25.501 | 31.678 | 25.5014 | 5.0858 | 25.5014 | 0.33426 | 25.5014 | 31.6779 | 25.5014 | 20.0858 | [16 empty] | 5.086 | 31.678
128 |  | 25.701 | 31.778 | 25.7007 | 5.1277 | 25.7007 | 0.33705 | 25.7007 | 31.7785 | 25.7007 | 20.1277 | [16 empty] | 5.128 | 31.778
129 |  | 25.9 | 31.869 | 25.8999 | 5.1678 | 25.8999 | 0.33971 | 25.8999 | 31.8688 | 25.8999 | 20.1678 | [16 empty] | 5.168 | 31.869
130 |  | 26.099 | 31.948 | 26.0991 | 5.2099 | 26.0991 | 0.34251 | 26.0991 | 31.948 | 26.0991 | 20.2099 | [16 empty] | 5.21 | 31.948
131 |  | 26.298 | 32.033 | 26.2984 | 5.2515 | 26.2984 | 0.34527 | 26.2984 | 32.0331 | 26.2984 | 20.2515 | [16 empty] | 5.251 | 32.033
132 |  | 26.498 | 32.145 | 26.4976 | 5.2937 | 26.4976 | 0.34808 | 26.4976 | 32.1448 | 26.4976 | 20.2937 | [16 empty] | 5.294 | 32.145
133 |  | 26.697 | 32.261 | 26.6968 | 5.3244 | 26.6968 | 0.35012 | 26.6968 | 32.2606 | 26.6968 | 20.3244 | [16 empty] | 5.324 | 32.261
134 |  | 26.896 | 32.37 | 26.8961 | 5.3742 | 26.8961 | 0.35342 | 26.8961 | 32.37 | 26.8961 | 20.3742 | [16 empty] | 5.374 | 32.37
135 |  | 27.095 | 32.475 | 27.0953 | 5.4156 | 27.0953 | 0.35617 | 27.0953 | 32.4748 | 27.0953 | 20.4156 | [16 empty] | 5.416 | 32.475
136 |  | 27.295 | 32.553 | 27.2945 | 5.4459 | 27.2945 | 0.35819 | 27.2945 | 32.5533 | 27.2945 | 20.4459 | [16 empty] | 5.446 | 32.553
137 |  | 27.494 | 32.666 | 27.4937 | 5.4939 | 27.4937 | 0.36137 | 27.4937 | 32.6658 | 27.4937 | 20.4939 | [16 empty] | 5.494 | 32.666
138 |  | 27.693 | 32.749 | 27.693 | 5.5235 | 27.693 | 0.36334 | 27.693 | 32.7486 | 27.693 | 20.5235 | [16 empty] | 5.523 | 32.749
139 |  | 27.892 | 32.852 | 27.8922 | 5.5748 | 27.8922 | 0.36675 | 27.8922 | 32.8522 | 27.8922 | 20.5748 | [16 empty] | 5.575 | 32.852
140 |  | 28.091 | 32.94 | 28.0914 | 5.6053 | 28.0914 | 0.36877 | 28.0914 | 32.9397 | 28.0914 | 20.6053 | [16 empty] | 5.605 | 32.94
141 |  | 28.291 | 33.084 | 28.2907 | 5.6549 | 28.2907 | 0.37207 | 28.2907 | 33.0838 | 28.2907 | 20.6549 | [16 empty] | 5.655 | 33.084
142 |  | 28.49 | 33.182 | 28.4899 | 5.6856 | 28.4899 | 0.37411 | 28.4899 | 33.1824 | 28.4899 | 20.6856 | [16 empty] | 5.686 | 33.182
143 |  | 28.689 | 33.26 | 28.6891 | 5.7282 | 28.6891 | 0.37694 | 28.6891 | 33.2595 | 28.6891 | 20.7282 | [16 empty] | 5.728 | 33.26
144 |  | 28.888 | 33.379 | 28.8884 | 5.7785 | 28.8884 | 0.38028 | 28.8884 | 33.3792 | 28.8884 | 20.7785 | [16 empty] | 5.779 | 33.379
145 |  | 29.088 | 33.465 | 29.0876 | 5.8096 | 29.0876 | 0.38235 | 29.0876 | 33.4651 | 29.0876 | 20.8096 | [16 empty] | 5.81 | 33.465
146 |  | 29.287 | 33.525 | 29.2868 | 5.8504 | 29.2868 | 0.38505 | 29.2868 | 33.5252 | 29.2868 | 20.8504 | [16 empty] | 5.85 | 33.525
147 |  | 29.486 | 33.66 | 29.486 | 5.8921 | 29.486 | 0.38783 | 29.486 | 33.6602 | 29.486 | 20.8921 | [16 empty] | 5.892 | 33.66
148 |  | 29.685 | 33.809 | 29.6853 | 5.9418 | 29.6853 | 0.39113 | 29.6853 | 33.8092 | 29.6853 | 20.9418 | [16 empty] | 5.942 | 33.809
149 |  | 29.885 | 33.895 | 29.8845 | 5.9706 | 29.8845 | 0.39304 | 29.8845 | 33.895 | 29.8845 | 20.9706 | [16 empty] | 5.971 | 33.895
150 |  | 30.084 | 34.004 | 30.0837 | 6.0105 | 30.0837 | 0.39569 | 30.0837 | 34.0041 | 30.0837 | 21.0105 | [16 empty] | 6.01 | 34.004
151 |  | 30.283 | 34.121 | 30.283 | 6.0592 | 30.283 | 0.39892 | 30.283 | 34.1207 | 30.283 | 21.0592 | [16 empty] | 6.059 | 34.121
152 |  | 30.482 | 34.225 | 30.4822 | 6.0865 | 30.4822 | 0.40074 | 30.4822 | 34.225 | 30.4822 | 21.0865 | [16 empty] | 6.086 | 34.225
153 |  | 30.681 | 34.318 | 30.6814 | 6.1342 | 30.6814 | 0.40391 | 30.6814 | 34.3179 | 30.6814 | 21.1342 | [16 empty] | 6.134 | 34.318
154 |  | 30.881 | 34.425 | 30.8807 | 6.1646 | 30.8807 | 0.40593 | 30.8807 | 34.4247 | 30.8807 | 21.1646 | [16 empty] | 6.165 | 34.425
155 |  | 31.08 | 34.545 | 31.0799 | 6.2045 | 31.0799 | 0.40858 | 31.0799 | 34.5448 | 31.0799 | 21.2045 | [16 empty] | 6.204 | 34.545
156 |  | 31.279 | 34.661 | 31.2791 | 6.2434 | 31.2791 | 0.41116 | 31.2791 | 34.6612 | 31.2791 | 21.2434 | [16 empty] | 6.243 | 34.661
157 |  | 31.478 | 34.761 | 31.4784 | 6.284 | 31.4783 | 0.41386 | 31.4783 | 34.761 | 31.4784 | 21.284 | [16 empty] | 6.284 | 34.761
158 |  | 31.678 | 34.866 | 31.6776 | 6.3264 | 31.6776 | 0.41668 | 31.6776 | 34.866 | 31.6776 | 21.3264 | [16 empty] | 6.326 | 34.866
159 |  | 31.877 | 34.96 | 31.8768 | 6.3665 | 31.8768 | 0.41934 | 31.8768 | 34.9599 | 31.8768 | 21.3665 | [16 empty] | 6.367 | 34.96
160 |  | 32.076 | 35.043 | 32.076 | 6.4176 | 32.076 | 0.42274 | 32.076 | 35.0432 | 32.076 | 21.4176 | [16 empty] | 6.418 | 35.043
161 |  | 32.275 | 35.121 | 32.2753 | 6.4484 | 32.2753 | 0.42478 | 32.2753 | 35.121 | 32.2753 | 21.4484 | [16 empty] | 6.448 | 35.121
162 |  | 32.475 | 35.256 | 32.4745 | 6.5007 | 32.4745 | 0.42825 | 32.4745 | 35.2555 | 32.4745 | 21.5007 | [16 empty] | 6.501 | 35.256
163 |  | 32.674 | 35.339 | 32.6737 | 6.5307 | 32.6737 | 0.43025 | 32.6737 | 35.339 | 32.6737 | 21.5307 | [16 empty] | 6.531 | 35.339
164 |  | 32.873 | 35.445 | 32.873 | 6.5696 | 32.873 | 0.43283 | 32.873 | 35.4447 | 32.873 | 21.5696 | [16 empty] | 6.57 | 35.445
165 |  | 33.072 | 33.893 | 33.0722 | 6.6206 | 33.0722 | 0.43622 | 33.0722 | 33.8934 | 33.0722 | 21.6206 | [16 empty] | 6.621 | 33.893
166 |  | 33.271 | 8.772 | 33.2714 | 6.665 | 33.2714 | 0.43917 | 33.2714 | 8.772 | 33.2714 | 21.665 | [16 empty] | 6.665 | 8.772
167 |  | 33.471 | 2.069 | 33.4707 | 6.7031 | 33.4706 | 0.4417 | 33.4706 | 2.0688 | 33.4707 | 21.7031 | [16 empty] | 6.703 | 2.069
168 |  | 33.67 | 0.306 | 33.6699 | 6.7508 | 33.6699 | 0.44487 | 33.6699 | 0.30591 | 33.6699 | 21.7508 | [16 empty] | 6.751 | 0.306
169 |  | 33.869 | 0.072 | 33.8691 | 6.7814 | 33.8691 | 0.4469 | 33.8691 | 0.07192 | 33.8691 | 21.7814 | [16 empty] | 6.781 | 0.072
170 |  | 34.068 | -0.022 | 34.0683 | 6.8213 | 34.0683 | 0.44955 | 34.0683 | -0.02154 | 34.0683 | 21.8213 | [16 empty] | 6.821 | -0.022
171 |  | 34.268 | -0.047 | 34.2676 | 6.8699 | 34.2676 | 0.45278 | 34.2676 | -0.04651 | 34.2676 | 21.8699 | [16 empty] | 6.87 | -0.047
172 |  | 34.467 | -0.05 | 34.4668 | 6.9004 | 34.4668 | 0.4548 | 34.4668 | -0.05027 | 34.4668 | 21.9004 | [16 empty] | 6.9 | -0.05
173 |  | 34.666 | -0.051 | 34.666 | 6.9519 | 34.666 | 0.45823 | 34.666 | -0.05076 | 34.666 | 21.9519 | [16 empty] | 6.952 | -0.051
174 |  | 34.865 | -0.053 | 34.8653 | 6.9811 | 34.8653 | 0.46016 | 34.8653 | -0.05328 | 34.8653 | 21.9811 | [16 empty] | 6.981 | -0.053
175 |  | 35.064 | -0.053 | 35.0645 | 7.0308 | 35.0645 | 0.46347 | 35.0645 | -0.0527 | 35.0645 | 22.0308 | [16 empty] | 7.031 | -0.053
176 |  | 35.264 | -0.053 | 35.2637 | 7.0609 | 35.2637 | 0.46547 | 35.2637 | -0.05278 | 35.2637 | 22.0609 | [16 empty] | 7.061 | -0.053
177 |  | 35.463 | -0.053 | 35.463 | 7.1018 | 35.463 | 0.46818 | 35.463 | -0.05289 | 35.463 | 22.1018 | [16 empty] | 7.102 | -0.053
178 |  | 35.662 | -0.053 | 35.6622 | 7.1406 | 35.6622 | 0.47076 | 35.6622 | -0.05285 | 35.6622 | 22.1406 | [16 empty] | 7.141 | -0.053

## cleaned
time | temp | force | extension | strain | stress | gap
0.199 | 24.401 | 0.013 | 0.0538 | 0.00265 | 0.01316 | 15.0538
0.398 | 24.4 | 0.157 | 0.0662 | 0.00082 | 0.15727 | 15.0662
0.598 | 24.4 | 1.33 | 0.1124 | 0.00389 | 1.3299 | 15.1124
0.797 | 24.4 | 2.509 | 0.1401 | 0.00573 | 2.5088 | 15.1401
0.996 | 24.4 | 4.595 | 0.1894 | 0.00901 | 4.5952 | 15.1894
1.195 | 24.4 | 5.861 | 0.2183 | 0.01093 | 5.8606 | 15.2183
1.395 | 24.4 | 7.527 | 0.2566 | 0.01347 | 7.5268 | 15.2566
1.594 | 24.4 | 9.137 | 0.2968 | 0.01614 | 9.1373 | 15.2968
1.793 | 24.4 | 11.045 | 0.3483 | 0.01956 | 11.0448 | 15.3483
1.992 | 24.4 | 12.455 | 0.3885 | 0.02223 | 12.4547 | 15.3885
2.192 | 24.4 | 13.432 | 0.4187 | 0.02424 | 13.432 | 15.4187
2.391 | 24.399 | 14.884 | 0.47 | 0.02764 | 14.8838 | 15.47
2.59 | 24.399 | 15.914 | 0.5013 | 0.02972 | 15.9141 | 15.5013
2.789 | 24.399 | 16.824 | 0.5413 | 0.03238 | 16.8241 | 15.5413
2.988 | 24.399 | 17.619 | 0.5799 | 0.03495 | 17.6193 | 15.5799
3.188 | 24.399 | 18.307 | 0.6302 | 0.03829 | 18.3075 | 15.6302
3.387 | 24.399 | 18.907 | 0.6595 | 0.04023 | 18.9068 | 15.6595
3.586 | 24.399 | 19.423 | 0.7063 | 0.04334 | 19.4231 | 15.7063
3.785 | 24.399 | 19.868 | 0.7344 | 0.04521 | 19.8684 | 15.7344
3.985 | 24.399 | 20.268 | 0.7845 | 0.04854 | 20.2682 | 15.7845
4.184 | 24.399 | 20.631 | 0.8238 | 0.05114 | 20.6305 | 15.8238
4.383 | 24.399 | 20.956 | 0.8527 | 0.05307 | 20.9563 | 15.8527
4.582 | 24.399 | 21.177 | 0.8928 | 0.05573 | 21.1766 | 15.8928
4.782 | 24.399 | 21.513 | 0.9348 | 0.05852 | 21.5126 | 15.9348
4.981 | 24.399 | 21.805 | 0.9838 | 0.06178 | 21.805 | 15.9838
5.18 | 24.398 | 21.961 | 1.0142 | 0.06379 | 21.9609 | 16.0142
5.379 | 24.398 | 22.196 | 1.0643 | 0.06712 | 22.1962 | 16.0643
5.578 | 24.398 | 22.337 | 1.0949 | 0.06916 | 22.3375 | 16.0949
5.778 | 24.398 | 22.514 | 1.1339 | 0.07175 | 22.5137 | 16.1339
5.977 | 24.398 | 22.678 | 1.1808 | 0.07486 | 22.6779 | 16.1808
6.176 | 24.397 | 22.827 | 1.2103 | 0.07682 | 22.8271 | 16.2103
6.375 | 24.398 | 22.971 | 1.2489 | 0.07938 | 22.971 | 16.2489
6.575 | 24.398 | 23.099 | 1.2847 | 0.08176 | 23.0988 | 16.2847
6.774 | 24.398 | 23.215 | 1.3219 | 0.08424 | 23.2145 | 16.3219
6.973 | 24.398 | 23.333 | 1.3614 | 0.08686 | 23.3331 | 16.3614
7.172 | 24.398 | 23.459 | 1.411 | 0.09016 | 23.4586 | 16.411
7.372 | 24.397 | 23.581 | 1.4401 | 0.09209 | 23.5807 | 16.4401
7.571 | 24.398 | 23.689 | 1.4806 | 0.09478 | 23.6891 | 16.4806
7.77 | 24.397 | 23.793 | 1.5231 | 0.0976 | 23.7933 | 16.5231
7.969 | 24.398 | 23.889 | 1.5632 | 0.10027 | 23.8885 | 16.5632
8.168 | 24.397 | 23.975 | 1.6044 | 0.103 | 23.9749 | 16.6044
8.368 | 24.397 | 24.057 | 1.6452 | 0.10571 | 24.0569 | 16.6452
8.567 | 24.398 | 24.182 | 1.6983 | 0.10924 | 24.1815 | 16.6983
8.766 | 24.398 | 24.259 | 1.7286 | 0.11125 | 24.2585 | 16.7286
8.965 | 24.397 | 24.359 | 1.7677 | 0.11385 | 24.3589 | 16.7677
9.165 | 24.398 | 24.476 | 1.8179 | 0.11718 | 24.4765 | 16.8179
9.364 | 24.398 | 24.545 | 1.8475 | 0.11915 | 24.5453 | 16.8475
9.563 | 24.398 | 24.645 | 1.8936 | 0.12221 | 24.645 | 16.8936
9.762 | 24.398 | 24.702 | 1.9222 | 0.12412 | 24.7022 | 16.9222
9.961 | 24.398 | 24.809 | 1.9714 | 0.12738 | 24.8087 | 16.9714
10.161 | 24.399 | 24.878 | 2.0009 | 0.12934 | 24.878 | 17.0009
10.36 | 24.399 | 24.987 | 2.0493 | 0.13256 | 24.987 | 17.0493
10.559 | 24.399 | 25.049 | 2.0793 | 0.13455 | 25.0492 | 17.0793
10.758 | 24.399 | 25.133 | 2.1209 | 0.13731 | 25.1329 | 17.1209
10.958 | 24.4 | 25.235 | 2.1712 | 0.14065 | 25.2355 | 17.1712
11.157 | 24.401 | 25.286 | 2.2021 | 0.14271 | 25.286 | 17.2021
11.356 | 24.401 | 25.354 | 2.2431 | 0.14543 | 25.3541 | 17.2431
11.555 | 24.402 | 25.44 | 2.2846 | 0.14819 | 25.4404 | 17.2846
11.755 | 24.402 | 25.551 | 2.3345 | 0.1515 | 25.5512 | 17.3345
11.954 | 24.403 | 25.636 | 2.3734 | 0.15409 | 25.6365 | 17.3734
12.153 | 24.404 | 25.699 | 2.4039 | 0.15611 | 25.6994 | 17.4039
12.352 | 24.404 | 25.786 | 2.4441 | 0.15878 | 25.786 | 17.4441
12.551 | 24.405 | 25.878 | 2.4915 | 0.16193 | 25.878 | 17.4915
12.751 | 24.405 | 25.927 | 2.5205 | 0.16386 | 25.9274 | 17.5205
12.95 | 24.406 | 26.002 | 2.5614 | 0.16657 | 26.0019 | 17.5614
13.149 | 24.407 | 26.112 | 2.602 | 0.16927 | 26.1124 | 17.602
13.348 | 24.409 | 26.18 | 2.6416 | 0.1719 | 26.1797 | 17.6416
13.548 | 24.41 | 26.279 | 2.683 | 0.17465 | 26.279 | 17.683
13.747 | 24.411 | 26.342 | 2.7264 | 0.17754 | 26.3425 | 17.7264
13.946 | 24.411 | 26.421 | 2.7677 | 0.18028 | 26.4207 | 17.7677
14.145 | 24.414 | 26.507 | 2.8203 | 0.18377 | 26.5067 | 17.8203
14.345 | 24.414 | 26.553 | 2.852 | 0.18588 | 26.5531 | 17.852
14.544 | 24.416 | 26.662 | 2.9056 | 0.18944 | 26.6622 | 17.9056
14.743 | 24.417 | 26.756 | 2.9362 | 0.19147 | 26.7558 | 17.9362
14.942 | 24.418 | 26.824 | 2.9756 | 0.19409 | 26.824 | 17.9756
15.141 | 24.42 | 26.934 | 3.0267 | 0.19748 | 26.9339 | 18.0267
15.341 | 24.422 | 27.021 | 3.0564 | 0.19946 | 27.0212 | 18.0564
15.54 | 24.423 | 27.08 | 3.0939 | 0.20195 | 27.0799 | 18.0939
15.739 | 24.425 | 27.168 | 3.1421 | 0.20515 | 27.1684 | 18.1421
15.938 | 24.427 | 27.228 | 3.1727 | 0.20718 | 27.2283 | 18.1727
16.138 | 24.429 | 27.347 | 3.2226 | 0.21049 | 27.3469 | 18.2226
16.337 | 24.431 | 27.445 | 3.2517 | 0.21243 | 27.4448 | 18.2517
16.536 | 24.432 | 27.527 | 3.3029 | 0.21583 | 27.5268 | 18.3029
16.735 | 24.434 | 27.615 | 3.3346 | 0.21793 | 27.615 | 18.3346
16.935 | 24.437 | 27.676 | 3.3745 | 0.22059 | 27.6762 | 18.3745
17.134 | 24.439 | 27.77 | 3.4154 | 0.2233 | 27.7695 | 18.4154
17.333 | 24.441 | 27.84 | 3.456 | 0.226 | 27.8399 | 18.456
17.532 | 24.443 | 27.91 | 3.4977 | 0.22877 | 27.9099 | 18.4977
17.731 | 24.446 | 28.034 | 3.5469 | 0.23204 | 28.0341 | 18.5469
17.931 | 24.448 | 28.13 | 3.5754 | 0.23393 | 28.1298 | 18.5754
18.13 | 24.45 | 28.197 | 3.6151 | 0.23657 | 28.1969 | 18.6151
18.329 | 24.453 | 28.315 | 3.654 | 0.23915 | 28.3153 | 18.654
18.528 | 24.456 | 28.397 | 3.7 | 0.24221 | 28.3971 | 18.7
18.728 | 24.458 | 28.469 | 3.7278 | 0.24406 | 28.4689 | 18.7278
18.927 | 24.461 | 28.587 | 3.7778 | 0.24737 | 28.5872 | 18.7778
19.126 | 24.463 | 28.671 | 3.817 | 0.24998 | 28.6708 | 18.817
19.325 | 24.466 | 28.806 | 3.8558 | 0.25256 | 28.8062 | 18.8558
19.525 | 24.468 | 28.874 | 3.8865 | 0.2546 | 28.8742 | 18.8865
19.724 | 24.471 | 28.962 | 3.9286 | 0.2574 | 28.9622 | 18.9286
19.923 | 24.475 | 29.042 | 3.9784 | 0.2607 | 29.042 | 18.9784
20.122 | 24.477 | 29.114 | 4.0093 | 0.26275 | 29.1138 | 19.0093
20.321 | 24.48 | 29.184 | 4.0498 | 0.26544 | 29.1843 | 19.0498
20.521 | 24.484 | 29.307 | 4.102 | 0.26891 | 29.3066 | 19.102
20.72 | 24.487 | 29.388 | 4.132 | 0.2709 | 29.3877 | 19.132
20.919 | 24.489 | 29.493 | 4.1707 | 0.27348 | 29.4934 | 19.1707
21.118 | 24.492 | 29.586 | 4.2109 | 0.27615 | 29.5857 | 19.2109
21.318 | 24.496 | 29.68 | 4.2506 | 0.27878 | 29.6804 | 19.2506
21.517 | 24.499 | 29.762 | 4.2876 | 0.28124 | 29.7621 | 19.2876
21.716 | 24.502 | 29.836 | 4.326 | 0.2838 | 29.8358 | 19.3261
21.915 | 24.506 | 29.953 | 4.3764 | 0.28714 | 29.9532 | 19.3764
22.115 | 24.508 | 30.036 | 4.4064 | 0.28913 | 30.0362 | 19.4064
22.314 | 24.512 | 30.143 | 4.4451 | 0.2917 | 30.143 | 19.4451
22.513 | 24.516 | 30.235 | 4.4852 | 0.29437 | 30.2345 | 19.4852
22.712 | 24.518 | 30.33 | 4.5272 | 0.29716 | 30.3296 | 19.5272
22.911 | 24.523 | 30.441 | 4.5767 | 0.30045 | 30.4413 | 19.5767
23.111 | 24.526 | 30.525 | 4.6172 | 0.30314 | 30.5245 | 19.6172
23.31 | 24.529 | 30.585 | 4.6474 | 0.30514 | 30.5855 | 19.6474
23.509 | 24.534 | 30.724 | 4.699 | 0.30857 | 30.7244 | 19.699
23.708 | 24.536 | 30.84 | 4.7285 | 0.31053 | 30.8401 | 19.7285
23.908 | 24.54 | 30.921 | 4.7665 | 0.31305 | 30.9205 | 19.7665
24.107 | 24.543 | 31.041 | 4.8055 | 0.31564 | 31.0405 | 19.8055
24.306 | 24.547 | 31.111 | 4.8443 | 0.31822 | 31.111 | 19.8443
24.505 | 24.551 | 31.212 | 4.8896 | 0.32123 | 31.2118 | 19.8896
24.705 | 24.554 | 31.268 | 4.9178 | 0.32311 | 31.268 | 19.9178
24.904 | 24.558 | 31.377 | 4.9569 | 0.3257 | 31.3766 | 19.9569
25.103 | 24.562 | 31.455 | 4.9964 | 0.32832 | 31.4554 | 19.9964
25.302 | 24.567 | 31.582 | 5.0449 | 0.33155 | 31.5816 | 20.0449
25.501 | 24.571 | 31.678 | 5.0858 | 0.33426 | 31.6779 | 20.0858
25.701 | 24.574 | 31.778 | 5.1277 | 0.33705 | 31.7785 | 20.1277
25.9 | 24.578 | 31.869 | 5.1678 | 0.33971 | 31.8688 | 20.1678
26.099 | 24.582 | 31.948 | 5.2099 | 0.34251 | 31.948 | 20.2099
26.298 | 24.586 | 32.033 | 5.2515 | 0.34527 | 32.0331 | 20.2515
26.498 | 24.589 | 32.145 | 5.2937 | 0.34808 | 32.1448 | 20.2937
26.697 | 24.592 | 32.261 | 5.3244 | 0.35012 | 32.2606 | 20.3244
26.896 | 24.598 | 32.37 | 5.3742 | 0.35342 | 32.37 | 20.3742
27.095 | 24.602 | 32.475 | 5.4156 | 0.35617 | 32.4748 | 20.4156
27.295 | 24.605 | 32.553 | 5.4459 | 0.35819 | 32.5533 | 20.4459
27.494 | 24.609 | 32.666 | 5.4939 | 0.36137 | 32.6658 | 20.4939
27.693 | 24.612 | 32.749 | 5.5235 | 0.36334 | 32.7486 | 20.5235
27.892 | 24.617 | 32.852 | 5.5748 | 0.36675 | 32.8522 | 20.5748
28.091 | 24.62 | 32.94 | 5.6053 | 0.36877 | 32.9397 | 20.6053
28.291 | 24.625 | 33.084 | 5.6549 | 0.37207 | 33.0838 | 20.6549
28.49 | 24.628 | 33.182 | 5.6856 | 0.37411 | 33.1824 | 20.6856
28.689 | 24.633 | 33.26 | 5.7282 | 0.37694 | 33.2595 | 20.7282
28.888 | 24.638 | 33.379 | 5.7785 | 0.38028 | 33.3792 | 20.7785
29.088 | 24.64 | 33.465 | 5.8096 | 0.38235 | 33.4651 | 20.8096
29.287 | 24.645 | 33.525 | 5.8504 | 0.38505 | 33.5252 | 20.8504
29.486 | 24.648 | 33.66 | 5.8921 | 0.38783 | 33.6602 | 20.8921
29.685 | 24.653 | 33.809 | 5.9418 | 0.39113 | 33.8092 | 20.9418
29.885 | 24.656 | 33.895 | 5.9706 | 0.39304 | 33.895 | 20.9706
30.084 | 24.66 | 34.004 | 6.0105 | 0.39569 | 34.0041 | 21.0105
30.283 | 24.666 | 34.121 | 6.0592 | 0.39892 | 34.1207 | 21.0592
30.482 | 24.669 | 34.225 | 6.0865 | 0.40074 | 34.225 | 21.0865
30.681 | 24.674 | 34.318 | 6.1342 | 0.40391 | 34.3179 | 21.1342
30.881 | 24.677 | 34.425 | 6.1646 | 0.40593 | 34.4247 | 21.1646
31.08 | 24.681 | 34.545 | 6.2045 | 0.40858 | 34.5448 | 21.2045
31.279 | 24.685 | 34.661 | 6.2434 | 0.41116 | 34.6612 | 21.2434
31.478 | 24.689 | 34.761 | 6.284 | 0.41386 | 34.761 | 21.284
31.678 | 24.693 | 34.866 | 6.3264 | 0.41668 | 34.866 | 21.3264
31.877 | 24.697 | 34.96 | 6.3665 | 0.41934 | 34.9599 | 21.3665
32.076 | 24.703 | 35.043 | 6.4176 | 0.42274 | 35.0432 | 21.4176
32.275 | 24.705 | 35.121 | 6.4484 | 0.42478 | 35.121 | 21.4484
32.475 | 24.711 | 35.256 | 6.5007 | 0.42825 | 35.2555 | 21.5007
32.674 | 24.715 | 35.339 | 6.5307 | 0.43025 | 35.339 | 21.5307
32.873 | 24.718 | 35.445 | 6.5696 | 0.43283 | 35.4447 | 21.5696
33.072 | 24.722 | 33.893 | 6.6206 | 0.43622 | 33.8934 | 21.6206
33.271 | 24.726 | 8.772 | 6.665 | 0.43917 | 8.772 | 21.665
33.471 | 24.73 | 2.069 | 6.7031 | 0.4417 | 2.0688 | 21.7031
33.67 | 24.736 | 0.306 | 6.7508 | 0.44487 | 0.30591 | 21.7508
33.869 | 24.739 | 0.072 | 6.7814 | 0.4469 | 0.07192 | 21.7814
34.068 | 24.743 | -0.022 | 6.8213 | 0.44955 | -0.02154 | 21.8213
34.268 | 24.748 | -0.047 | 6.8699 | 0.45278 | -0.04651 | 21.8699
34.467 | 24.751 | -0.05 | 6.9004 | 0.4548 | -0.05027 | 21.9004
34.666 | 24.756 | -0.051 | 6.9519 | 0.45823 | -0.05076 | 21.9519
34.865 | 24.76 | -0.053 | 6.9811 | 0.46016 | -0.05328 | 21.9811
35.064 | 24.764 | -0.053 | 7.0308 | 0.46347 | -0.0527 | 22.0308
35.264 | 24.767 | -0.053 | 7.0609 | 0.46547 | -0.05278 | 22.0609
35.463 | 24.771 | -0.053 | 7.1018 | 0.46818 | -0.05289 | 22.1018
35.662 | 24.776 | -0.053 | 7.1406 | 0.47076 | -0.05285 | 22.1406