## tmpCDD4
Data:
LDF file: C:\Users\ram20010\Documents\Linkam\LINK\DataFiles\Unknown sample 13-10-25 18-25-15-98.ldf
LDF file version: V2.1
Status: Original data run
Source: C:\Users\ram20010\Documents\Linkam\LINK\DataFiles\Unknown sample 13-10-25 18-25-15-98.ldf
Recorded: 10/13/2025 6:25 PM
Requested Sample Period (s):0.1995997
User: UCONN\ram20010
Computer: 58P19K3
Data points: 239
Images: 0
TASC data points: 0
Data run notes:
Sample: Unknown sample
Notes:
Sample Calibration:
ON. Temperature values were corrected using Sample Calibration.
Sample Cal pairs: ( 10.0, 10.0) ( 20.0, 20.0) ( 30.0, 30.0) ( 40.0, 40.0) ( 50.0, 50.0)
Optical system:
Microscope: Microscope
Microscope sn:
C-Mount:
C-Mount sn:
Camera:
Camera sn:
Current objective: Objective 2
Name: 10x
SN:10
Scale Factor: 0.6210043
Saved Objectives:
Objective 1: 5x
Objective 1 sn: 5
Objective 1 scale factor: 1.240694
Micrometer 1 : L
Micrometer 1 sn: -
Objective 2: 10x
Objective 2 sn: 10
Objective 2 scale factor: 0.6210043
Micrometer 2 : L
Micrometer 2 sn: -
Objective 3: 20x
Objective 3 sn: 20
Objective 3 scale factor: 0.3086996
Micrometer 3 : L
Micrometer 3 sn: -
Objective 4: 50x
Objective 4 sn: 50
Objective 4 scale factor: 0.1242687
Micrometer 4 : L
Micrometer 4 sn: -
Objective 5: Objective
Objective 5 sn:
Objective 5 scale factor: 1
Micrometer 5 :
Micrometer 5 sn:
Objective 6: Objective
Objective 6 sn:
Objective 6 scale factor: 1
Micrometer 6 :
Micrometer 6 sn:
Instruments:
T9X Type: T96-S
T9X s/num: 14100-3086
T9X HVer: V 1.3
T9X FVer: V1.43
T9X slot1 card: T96 Stepper Motor TST
T9X slot1 card s/num: 14107-0368
T9X slot1 card HVer: V 1.1
T9X slot1 cable: MFS Stage
T9X slot1 cable s/num: 11106-0102
T9X slot1 cable HVer: V 1.0
T9X slot1 enabled: True
T9X slot2 card: N/A
T9X slot3 card: N/A
T9X slot4 card: T96 Tensile
T9X slot4 card s/num: 14109-0163
T9X slot4 card HVer: V 1.1
T9X slot4 cable: 200N Gauge
T9X slot4 cable s/num: 9141-0084
T9X slot4 cable HVer: V 1.0
T9X slot4 enabled: True
Stage: MFS60
Stage s/num: 9409-0009
Stage HVer: V 1.0
Stage beam: 200N
Sample width: 10.000mm
Sample height: 0.100mm
LinkPad: Linkpad
LinkPad s/num: xxxx-xxxxx-xxxx
LinkPad HVer:
LinkPad FVer: V1.43
WCP:
WCP s/num:
WCP HVer:
WCP FVer:
| Temperature |  | Force |  | Extension |  | Strain |  | Stress |  | Gap |  | Rh |  | Rhtemp |  | Image |  | Intensity |  | Tasc |  | TriggerBlue |  | TriggerGreen |  | TriggerPink |  | Force V Distance
Index | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y | X | Y
0 | 0.2 | 24.908 | 0.2 | -0.001 | 0.1996 | 4.839 | 0.1996 | 0.00268 | 0.1996 | -0.00118 | 0.1996 | 19.839 | [16 empty] | 4.839 | -0.001
1 | 0.399 | 24.908 | 0.399 | 0 | 0.3992 | 4.8417 | 0.3992 | 0.00013 | 0.3992 | -0.00019 | 0.3992 | 19.8417 | [16 empty] | 4.842 | 0
2 | 0.599 | 24.907 | 0.599 | 0.017 | 0.5988 | 4.8645 | 0.5988 | 0.00128 | 0.5988 | 0.01653 | 0.5988 | 19.8645 | [16 empty] | 4.864 | 0.017
3 | 0.798 | 24.907 | 0.798 | 0.038 | 0.7984 | 4.8842 | 0.7984 | 0.00227 | 0.7984 | 0.03821 | 0.7984 | 19.8842 | [16 empty] | 4.884 | 0.038
4 | 0.998 | 24.906 | 0.998 | 0.06 | 0.998 | 4.9045 | 0.998 | 0.0033 | 0.998 | 0.05957 | 0.998 | 19.9045 | [16 empty] | 4.905 | 0.06
5 | 1.198 | 24.906 | 1.198 | 0.078 | 1.1976 | 4.9246 | 1.1976 | 0.00431 | 1.1976 | 0.07841 | 1.1976 | 19.9246 | [16 empty] | 4.925 | 0.078
6 | 1.397 | 24.906 | 1.397 | 0.09 | 1.3972 | 4.9394 | 1.3972 | 0.00506 | 1.3972 | 0.08967 | 1.3972 | 19.9394 | [16 empty] | 4.939 | 0.09
7 | 1.597 | 24.906 | 1.597 | 0.105 | 1.5968 | 4.9638 | 1.5968 | 0.00629 | 1.5968 | 0.10533 | 1.5968 | 19.9638 | [16 empty] | 4.964 | 0.105
8 | 1.796 | 24.905 | 1.796 | 0.118 | 1.7964 | 4.9836 | 1.7964 | 0.00729 | 1.7964 | 0.11836 | 1.7964 | 19.9836 | [16 empty] | 4.984 | 0.118
9 | 1.996 | 24.905 | 1.996 | 0.131 | 1.996 | 5.0039 | 1.996 | 0.00831 | 1.996 | 0.1306 | 1.996 | 20.0039 | [16 empty] | 5.004 | 0.131
10 | 2.196 | 24.904 | 2.196 | 0.143 | 2.1956 | 5.0246 | 2.1956 | 0.00935 | 2.1956 | 0.14289 | 2.1956 | 20.0246 | [16 empty] | 5.025 | 0.143
11 | 2.395 | 24.904 | 2.395 | 0.154 | 2.3952 | 5.0405 | 2.3952 | 0.01016 | 2.3952 | 0.15399 | 2.3952 | 20.0405 | [16 empty] | 5.041 | 0.154
12 | 2.595 | 24.904 | 2.595 | 0.167 | 2.5948 | 5.0668 | 2.5948 | 0.01148 | 2.5948 | 0.16659 | 2.5948 | 20.0668 | [16 empty] | 5.067 | 0.167
13 | 2.794 | 24.904 | 2.794 | 0.181 | 2.7944 | 5.0871 | 2.7944 | 0.0125 | 2.7944 | 0.18087 | 2.7944 | 20.0871 | [16 empty] | 5.087 | 0.181
14 | 2.994 | 24.903 | 2.994 | 0.191 | 2.994 | 5.1073 | 2.994 | 0.01352 | 2.994 | 0.19078 | 2.994 | 20.1073 | [16 empty] | 5.107 | 0.191
15 | 3.194 | 24.902 | 3.194 | 0.203 | 3.1936 | 5.1288 | 3.1936 | 0.0146 | 3.1936 | 0.20286 | 3.1936 | 20.1288 | [16 empty] | 5.129 | 0.203
16 | 3.393 | 24.902 | 3.393 | 0.216 | 3.3932 | 5.1442 | 3.3932 | 0.01538 | 3.3932 | 0.21616 | 3.3932 | 20.1442 | [16 empty] | 5.144 | 0.216
17 | 3.593 | 24.901 | 3.593 | 0.231 | 3.5928 | 5.1644 | 3.5928 | 0.0164 | 3.5928 | 0.23076 | 3.5928 | 20.1644 | [16 empty] | 5.164 | 0.231
18 | 3.792 | 24.901 | 3.792 | 0.251 | 3.7924 | 5.1907 | 3.7924 | 0.01772 | 3.7924 | 0.25107 | 3.7924 | 20.1907 | [16 empty] | 5.191 | 0.251
19 | 3.992 | 24.901 | 3.992 | 0.264 | 3.992 | 5.2122 | 3.992 | 0.01881 | 3.992 | 0.26364 | 3.992 | 20.2122 | [16 empty] | 5.212 | 0.264
20 | 4.192 | 24.901 | 4.192 | 0.281 | 4.1916 | 5.2334 | 4.1916 | 0.01988 | 4.1916 | 0.28132 | 4.1916 | 20.2334 | [16 empty] | 5.233 | 0.281
21 | 4.391 | 24.9 | 4.391 | 0.301 | 4.3912 | 5.249 | 4.3912 | 0.02066 | 4.3912 | 0.3008 | 4.3912 | 20.249 | [16 empty] | 5.249 | 0.301
22 | 4.591 | 24.9 | 4.591 | 0.317 | 4.5908 | 5.2694 | 4.5908 | 0.02169 | 4.5908 | 0.31678 | 4.5908 | 20.2694 | [16 empty] | 5.269 | 0.317
23 | 4.79 | 24.9 | 4.79 | 0.35 | 4.7904 | 5.2942 | 4.7904 | 0.02294 | 4.7904 | 0.34976 | 4.7904 | 20.2942 | [16 empty] | 5.294 | 0.35
24 | 4.99 | 24.899 | 4.99 | 0.368 | 4.99 | 5.3141 | 4.99 | 0.02395 | 4.99 | 0.3684 | 4.99 | 20.3141 | [16 empty] | 5.314 | 0.368
25 | 5.19 | 24.899 | 5.19 | 0.395 | 5.1896 | 5.3344 | 5.1896 | 0.02497 | 5.1896 | 0.39481 | 5.1896 | 20.3344 | [16 empty] | 5.334 | 0.395
26 | 5.389 | 24.899 | 5.389 | 0.424 | 5.3892 | 5.3501 | 5.3892 | 0.02576 | 5.3892 | 0.4242 | 5.3892 | 20.3501 | [16 empty] | 5.35 | 0.424
27 | 5.589 | 24.898 | 5.589 | 0.455 | 5.5888 | 5.3707 | 5.5888 | 0.0268 | 5.5888 | 0.45524 | 5.5888 | 20.3707 | [16 empty] | 5.371 | 0.455
28 | 5.788 | 24.898 | 5.788 | 0.497 | 5.7884 | 5.3954 | 5.7884 | 0.02804 | 5.7884 | 0.49715 | 5.7884 | 20.3954 | [16 empty] | 5.395 | 0.497
29 | 5.988 | 24.897 | 5.988 | 0.532 | 5.988 | 5.4142 | 5.988 | 0.02899 | 5.988 | 0.53166 | 5.988 | 20.4142 | [16 empty] | 5.414 | 0.532
30 | 6.188 | 24.897 | 6.188 | 0.561 | 6.1876 | 5.4338 | 6.1876 | 0.02998 | 6.1876 | 0.56113 | 6.1876 | 20.4338 | [16 empty] | 5.434 | 0.561
31 | 6.387 | 24.897 | 6.387 | 0.6 | 6.3872 | 5.4483 | 6.3872 | 0.03071 | 6.3872 | 0.60025 | 6.3872 | 20.4483 | [16 empty] | 5.448 | 0.6
32 | 6.587 | 24.896 | 6.587 | 0.63 | 6.5868 | 5.4674 | 6.5868 | 0.03167 | 6.5868 | 0.63041 | 6.5868 | 20.4674 | [16 empty] | 5.467 | 0.63
33 | 6.786 | 24.896 | 6.786 | 0.692 | 6.7864 | 5.4927 | 6.7864 | 0.03295 | 6.7864 | 0.69238 | 6.7864 | 20.4927 | [16 empty] | 5.493 | 0.692
34 | 6.986 | 24.896 | 6.986 | 0.728 | 6.986 | 5.5133 | 6.986 | 0.03399 | 6.986 | 0.72772 | 6.986 | 20.5133 | [16 empty] | 5.513 | 0.728
35 | 7.186 | 24.895 | 7.186 | 0.775 | 7.1856 | 5.5335 | 7.1856 | 0.03501 | 7.1856 | 0.7754 | 7.1856 | 20.5335 | [16 empty] | 5.534 | 0.775
36 | 7.385 | 24.895 | 7.385 | 0.824 | 7.3852 | 5.5484 | 7.3852 | 0.03576 | 7.3852 | 0.82415 | 7.3852 | 20.5484 | [16 empty] | 5.548 | 0.824
37 | 7.585 | 24.895 | 7.585 | 0.889 | 7.5848 | 5.5729 | 7.5848 | 0.03699 | 7.5848 | 0.88852 | 7.5848 | 20.5729 | [16 empty] | 5.573 | 0.889
38 | 7.784 | 24.895 | 7.784 | 0.94 | 7.7844 | 5.5926 | 7.7844 | 0.03799 | 7.7844 | 0.93984 | 7.7844 | 20.5926 | [16 empty] | 5.593 | 0.94
39 | 7.984 | 24.894 | 7.984 | 0.978 | 7.984 | 5.6128 | 7.984 | 0.039 | 7.984 | 0.97765 | 7.984 | 20.6128 | [16 empty] | 5.613 | 0.978
40 | 8.184 | 24.894 | 8.184 | 1.03 | 8.1836 | 5.6333 | 8.1836 | 0.04004 | 8.1836 | 1.0302 | 8.1836 | 20.6334 | [16 empty] | 5.633 | 1.03
41 | 8.383 | 24.894 | 8.383 | 1.084 | 8.3832 | 5.6547 | 8.3832 | 0.04112 | 8.3832 | 1.0841 | 8.3832 | 20.6547 | [16 empty] | 5.655 | 1.084
42 | 8.583 | 24.894 | 8.583 | 1.15 | 8.5828 | 5.6755 | 8.5828 | 0.04216 | 8.5828 | 1.1499 | 8.5828 | 20.6755 | [16 empty] | 5.675 | 1.15
43 | 8.782 | 24.893 | 8.782 | 1.169 | 8.7824 | 5.6906 | 8.7824 | 0.04292 | 8.7824 | 1.1691 | 8.7824 | 20.6906 | [16 empty] | 5.691 | 1.169
44 | 8.982 | 24.893 | 8.982 | 1.149 | 8.982 | 5.7155 | 8.982 | 0.04418 | 8.982 | 1.1486 | 8.982 | 20.7155 | [16 empty] | 5.715 | 1.149
45 | 9.182 | 24.893 | 9.182 | 1.168 | 9.1816 | 5.7363 | 9.1816 | 0.04523 | 9.1816 | 1.1679 | 9.1816 | 20.7363 | [16 empty] | 5.736 | 1.168
46 | 9.381 | 24.893 | 9.381 | 1.195 | 9.3812 | 5.7562 | 9.3812 | 0.04623 | 9.3812 | 1.1948 | 9.3812 | 20.7563 | [16 empty] | 5.756 | 1.195
47 | 9.581 | 24.893 | 9.581 | 1.235 | 9.5808 | 5.7709 | 9.5808 | 0.04697 | 9.5808 | 1.2351 | 9.5808 | 20.7709 | [16 empty] | 5.771 | 1.235
48 | 9.78 | 24.893 | 9.78 | 1.281 | 9.7804 | 5.7913 | 9.7804 | 0.048 | 9.7804 | 1.2806 | 9.7804 | 20.7913 | [16 empty] | 5.791 | 1.281
49 | 9.98 | 24.893 | 9.98 | 1.289 | 9.98 | 5.8176 | 9.98 | 0.04932 | 9.98 | 1.2892 | 9.98 | 20.8176 | [16 empty] | 5.818 | 1.289
50 | 10.18 | 24.893 | 10.18 | 1.31 | 10.1796 | 5.8381 | 10.1796 | 0.05036 | 10.1796 | 1.3103 | 10.1796 | 20.8381 | [16 empty] | 5.838 | 1.31
51 | 10.379 | 24.894 | 10.379 | 1.325 | 10.3792 | 5.8531 | 10.3792 | 0.05112 | 10.3792 | 1.3255 | 10.3792 | 20.8531 | [16 empty] | 5.853 | 1.325
52 | 10.579 | 24.894 | 10.579 | 1.34 | 10.5788 | 5.8728 | 10.5788 | 0.05211 | 10.5788 | 1.3403 | 10.5788 | 20.8728 | [16 empty] | 5.873 | 1.34
53 | 10.778 | 24.894 | 10.778 | 1.373 | 10.7784 | 5.8919 | 10.7784 | 0.05307 | 10.7784 | 1.3732 | 10.7784 | 20.8919 | [16 empty] | 5.892 | 1.373
54 | 10.978 | 24.894 | 10.978 | 1.422 | 10.978 | 5.9158 | 10.978 | 0.05427 | 10.978 | 1.422 | 10.978 | 20.9158 | [16 empty] | 5.916 | 1.422
55 | 11.178 | 24.895 | 11.178 | 1.454 | 11.1776 | 5.9353 | 11.1776 | 0.05526 | 11.1776 | 1.4544 | 11.1776 | 20.9353 | [16 empty] | 5.935 | 1.454
56 | 11.377 | 24.895 | 11.377 | 1.499 | 11.3772 | 5.9557 | 11.3772 | 0.05629 | 11.3772 | 1.499 | 11.3772 | 20.9557 | [16 empty] | 5.956 | 1.499
57 | 11.577 | 24.896 | 11.577 | 1.521 | 11.5768 | 5.9706 | 11.5768 | 0.05704 | 11.5768 | 1.5215 | 11.5768 | 20.9706 | [16 empty] | 5.971 | 1.521
58 | 11.776 | 24.896 | 11.776 | 1.504 | 11.7764 | 5.9897 | 11.7764 | 0.058 | 11.7764 | 1.504 | 11.7764 | 20.9897 | [16 empty] | 5.99 | 1.504
59 | 11.976 | 24.897 | 11.976 | 1.49 | 11.976 | 6.0127 | 11.976 | 0.05916 | 11.976 | 1.4899 | 11.976 | 21.0127 | [16 empty] | 6.013 | 1.49
60 | 12.176 | 24.897 | 12.176 | 1.493 | 12.1756 | 6.0318 | 12.1756 | 0.06012 | 12.1756 | 1.4932 | 12.1756 | 21.0318 | [16 empty] | 6.032 | 1.493
61 | 12.375 | 24.898 | 12.375 | 1.346 | 12.3752 | 6.0504 | 12.3752 | 0.06106 | 12.3752 | 1.3465 | 12.3752 | 21.0504 | [16 empty] | 6.05 | 1.346
62 | 12.575 | 24.899 | 12.575 | 1.254 | 12.5748 | 6.0646 | 12.5748 | 0.06178 | 12.5748 | 1.2543 | 12.5748 | 21.0646 | [16 empty] | 6.065 | 1.254
63 | 12.774 | 24.9 | 12.774 | 1.254 | 12.7744 | 6.0843 | 12.7744 | 0.06277 | 12.7744 | 1.2542 | 12.7744 | 21.0843 | [16 empty] | 6.084 | 1.254
64 | 12.974 | 24.9 | 12.974 | 1.299 | 12.974 | 6.1098 | 12.974 | 0.06405 | 12.974 | 1.2994 | 12.974 | 21.1098 | [16 empty] | 6.11 | 1.299
65 | 13.174 | 24.901 | 13.174 | 1.338 | 13.1736 | 6.1299 | 13.1736 | 0.06506 | 13.1736 | 1.3381 | 13.1736 | 21.1299 | [16 empty] | 6.13 | 1.338
66 | 13.373 | 24.902 | 13.373 | 1.368 | 13.3732 | 6.1496 | 13.3732 | 0.06606 | 13.3732 | 1.3682 | 13.3732 | 21.1496 | [16 empty] | 6.15 | 1.368
67 | 13.573 | 24.902 | 13.573 | 1.385 | 13.5728 | 6.1641 | 13.5728 | 0.06679 | 13.5728 | 1.3854 | 13.5728 | 21.1641 | [16 empty] | 6.164 | 1.385
68 | 13.772 | 24.903 | 13.772 | 1.406 | 13.7724 | 6.1838 | 13.7724 | 0.06779 | 13.7724 | 1.4061 | 13.7724 | 21.1838 | [16 empty] | 6.184 | 1.406
69 | 13.972 | 24.904 | 13.972 | 1.356 | 13.972 | 6.209 | 13.972 | 0.06906 | 13.972 | 1.3556 | 13.972 | 21.209 | [16 empty] | 6.209 | 1.356
70 | 14.172 | 24.905 | 14.172 | 1.25 | 14.1716 | 6.2298 | 14.1716 | 0.0701 | 14.1716 | 1.2498 | 14.1716 | 21.2298 | [16 empty] | 6.23 | 1.25
71 | 14.371 | 24.905 | 14.371 | 1.184 | 14.3712 | 6.2513 | 14.3712 | 0.07119 | 14.3712 | 1.1843 | 14.3712 | 21.2513 | [16 empty] | 6.251 | 1.184
72 | 14.571 | 24.906 | 14.571 | 1.137 | 14.5708 | 6.2722 | 14.5708 | 0.07224 | 14.5708 | 1.1367 | 14.5708 | 21.2722 | [16 empty] | 6.272 | 1.137
73 | 14.77 | 24.906 | 14.77 | 1.124 | 14.7704 | 6.2873 | 14.7704 | 0.073 | 14.7704 | 1.1237 | 14.7704 | 21.2873 | [16 empty] | 6.287 | 1.124
74 | 14.97 | 24.907 | 14.97 | 1.11 | 14.97 | 6.3075 | 14.97 | 0.07402 | 14.97 | 1.1104 | 14.97 | 21.3075 | [16 empty] | 6.307 | 1.11
75 | 15.17 | 24.907 | 15.17 | 1.111 | 15.1696 | 6.3339 | 15.1696 | 0.07535 | 15.1696 | 1.1107 | 15.1696 | 21.3339 | [16 empty] | 6.334 | 1.111
76 | 15.369 | 24.908 | 15.369 | 1.083 | 15.3692 | 6.3537 | 15.3692 | 0.07635 | 15.3692 | 1.0829 | 15.3692 | 21.3537 | [16 empty] | 6.354 | 1.083
77 | 15.569 | 24.909 | 15.569 | 1.086 | 15.5688 | 6.3736 | 15.5688 | 0.07735 | 15.5688 | 1.0859 | 15.5688 | 21.3736 | [16 empty] | 6.374 | 1.086
78 | 15.768 | 24.909 | 15.768 | 1.105 | 15.7684 | 6.3892 | 15.7684 | 0.07814 | 15.7684 | 1.1052 | 15.7684 | 21.3892 | [16 empty] | 6.389 | 1.105
79 | 15.968 | 24.91 | 15.968 | 1.121 | 15.968 | 6.4107 | 15.968 | 0.07922 | 15.968 | 1.1211 | 15.968 | 21.4107 | [16 empty] | 6.411 | 1.121
80 | 16.168 | 24.911 | 16.168 | 1.107 | 16.1676 | 6.4367 | 16.1676 | 0.08053 | 16.1676 | 1.1072 | 16.1676 | 21.4367 | [16 empty] | 6.437 | 1.107
81 | 16.367 | 24.911 | 16.367 | 1.111 | 16.3672 | 6.4573 | 16.3672 | 0.08157 | 16.3672 | 1.1108 | 16.3672 | 21.4573 | [16 empty] | 6.457 | 1.111
82 | 16.567 | 24.912 | 16.567 | 1.133 | 16.5668 | 6.477 | 16.5668 | 0.08256 | 16.5668 | 1.1327 | 16.5668 | 21.477 | [16 empty] | 6.477 | 1.133
83 | 16.766 | 24.912 | 16.766 | 1.14 | 16.7664 | 6.4915 | 16.7664 | 0.08329 | 16.7664 | 1.1403 | 16.7664 | 21.4915 | [16 empty] | 6.491 | 1.14
84 | 16.966 | 24.913 | 16.966 | 1.135 | 16.966 | 6.5108 | 16.966 | 0.08427 | 16.966 | 1.1353 | 16.966 | 21.5108 | [16 empty] | 6.511 | 1.135
85 | 17.166 | 24.914 | 17.166 | 1.133 | 17.1656 | 6.5305 | 17.1656 | 0.08526 | 17.1656 | 1.1335 | 17.1656 | 21.5305 | [16 empty] | 6.53 | 1.133
86 | 17.365 | 24.915 | 17.365 | 1.04 | 17.3652 | 6.5562 | 17.3652 | 0.08655 | 17.3652 | 1.0398 | 17.3652 | 21.5562 | [16 empty] | 6.556 | 1.04
87 | 17.565 | 24.915 | 17.565 | 0.997 | 17.5648 | 6.5762 | 17.5648 | 0.08756 | 17.5648 | 0.99741 | 17.5648 | 21.5762 | [16 empty] | 6.576 | 0.997
88 | 17.764 | 24.915 | 17.764 | 0.98 | 17.7644 | 6.5955 | 17.7644 | 0.08854 | 17.7644 | 0.97995 | 17.7644 | 21.5955 | [16 empty] | 6.596 | 0.98
89 | 17.964 | 24.916 | 17.964 | 0.977 | 17.964 | 6.6094 | 17.964 | 0.08924 | 17.964 | 0.97706 | 17.964 | 21.6094 | [16 empty] | 6.609 | 0.977
90 | 18.164 | 24.917 | 18.164 | 0.978 | 18.1636 | 6.6283 | 18.1636 | 0.09019 | 18.1636 | 0.97833 | 18.1636 | 21.6283 | [16 empty] | 6.628 | 0.978
91 | 18.363 | 24.918 | 18.363 | 0.97 | 18.3632 | 6.6523 | 18.3632 | 0.0914 | 18.3632 | 0.97001 | 18.3632 | 21.6523 | [16 empty] | 6.652 | 0.97
92 | 18.563 | 24.918 | 18.563 | 0.957 | 18.5628 | 6.6711 | 18.5628 | 0.09235 | 18.5628 | 0.95723 | 18.5628 | 21.6711 | [16 empty] | 6.671 | 0.957
93 | 18.762 | 24.919 | 18.762 | 0.949 | 18.7624 | 6.6859 | 18.7624 | 0.09309 | 18.7624 | 0.94863 | 18.7624 | 21.6859 | [16 empty] | 6.686 | 0.949
94 | 18.962 | 24.919 | 18.962 | 0.949 | 18.962 | 6.7063 | 18.962 | 0.09412 | 18.962 | 0.94908 | 18.962 | 21.7063 | [16 empty] | 6.706 | 0.949
95 | 19.162 | 24.92 | 19.162 | 0.953 | 19.1616 | 6.7266 | 19.1616 | 0.09514 | 19.1616 | 0.95319 | 19.1616 | 21.7266 | [16 empty] | 6.727 | 0.953
96 | 19.361 | 24.921 | 19.361 | 0.943 | 19.3612 | 6.7512 | 19.3612 | 0.09639 | 19.3612 | 0.94257 | 19.3612 | 21.7512 | [16 empty] | 6.751 | 0.943
97 | 19.561 | 24.922 | 19.561 | 0.944 | 19.5608 | 6.7704 | 19.5608 | 0.09735 | 19.5608 | 0.94415 | 19.5608 | 21.7704 | [16 empty] | 6.77 | 0.944
98 | 19.76 | 24.922 | 19.76 | 0.947 | 19.7604 | 6.7899 | 19.7604 | 0.09834 | 19.7604 | 0.94733 | 19.7604 | 21.7899 | [16 empty] | 6.79 | 0.947
99 | 19.96 | 24.923 | 19.96 | 0.953 | 19.96 | 6.8097 | 19.96 | 0.09933 | 19.96 | 0.95326 | 19.96 | 21.8097 | [16 empty] | 6.81 | 0.953
100 | 20.16 | 24.923 | 20.16 | 0.964 | 20.1596 | 6.8301 | 20.1596 | 0.10036 | 20.1596 | 0.96357 | 20.1596 | 21.8301 | [16 empty] | 6.83 | 0.964
101 | 20.359 | 24.924 | 20.359 | 0.967 | 20.3592 | 6.8511 | 20.3592 | 0.10142 | 20.3592 | 0.96689 | 20.3592 | 21.8511 | [16 empty] | 6.851 | 0.967
102 | 20.559 | 24.925 | 20.559 | 0.916 | 20.5588 | 6.8717 | 20.5588 | 0.10246 | 20.5588 | 0.9165 | 20.5588 | 21.8717 | [16 empty] | 6.872 | 0.916
103 | 20.758 | 24.925 | 20.758 | 0.74 | 20.7584 | 6.8918 | 20.7584 | 0.10347 | 20.7584 | 0.74032 | 20.7584 | 21.8918 | [16 empty] | 6.892 | 0.74
104 | 20.958 | 24.926 | 20.958 | 0.166 | 20.958 | 6.9111 | 20.958 | 0.10445 | 20.958 | 0.16556 | 20.958 | 21.9111 | [16 empty] | 6.911 | 0.166
105 | 21.158 | 24.926 | 21.158 | 0.029 | 21.1576 | 6.9262 | 21.1576 | 0.10521 | 21.1576 | 0.02879 | 21.1576 | 21.9262 | [16 empty] | 6.926 | 0.029
106 | 21.357 | 24.927 | 21.357 | 0 | 21.3572 | 6.9466 | 21.3572 | 0.10623 | 21.3572 | -0.00015 | 21.3572 | 21.9466 | [16 empty] | 6.947 | 0
107 | 21.557 | 24.928 | 21.557 | -0.003 | 21.5568 | 6.9707 | 21.5568 | 0.10745 | 21.5568 | -0.00341 | 21.5568 | 21.9707 | [16 empty] | 6.971 | -0.003
108 | 21.756 | 24.928 | 21.756 | 0.001 | 21.7564 | 6.991 | 21.7564 | 0.10847 | 21.7564 | 0.00106 | 21.7564 | 21.991 | [16 empty] | 6.991 | 0.001
109 | 21.956 | 24.929 | 21.956 | 0.005 | 21.956 | 7.0116 | 21.956 | 0.10951 | 21.956 | 0.00498 | 21.956 | 22.0116 | [16 empty] | 7.012 | 0.005
110 | 22.156 | 24.929 | 22.156 | 0.009 | 22.1556 | 7.032 | 22.1556 | 0.11054 | 22.1556 | 0.00871 | 22.1556 | 22.032 | [16 empty] | 7.032 | 0.009
111 | 22.355 | 24.93 | 22.355 | 0.015 | 22.3552 | 7.0468 | 22.3552 | 0.11128 | 22.3552 | 0.01526 | 22.3552 | 22.0468 | [16 empty] | 7.047 | 0.015
112 | 22.555 | 24.93 | 22.555 | 0.021 | 22.5548 | 7.0709 | 22.5548 | 0.1125 | 22.5548 | 0.02125 | 22.5548 | 22.0709 | [16 empty] | 7.071 | 0.021
113 | 22.754 | 24.932 | 22.754 | 0.029 | 22.7544 | 7.0897 | 22.7544 | 0.11345 | 22.7544 | 0.029 | 22.7544 | 22.0897 | [16 empty] | 7.09 | 0.029
114 | 22.954 | 24.932 | 22.954 | 0.035 | 22.954 | 7.1084 | 22.954 | 0.11439 | 22.954 | 0.03537 | 22.954 | 22.1084 | [16 empty] | 7.108 | 0.035
115 | 23.154 | 24.933 | 23.154 | 0.042 | 23.1536 | 7.1275 | 23.1536 | 0.11535 | 23.1536 | 0.04178 | 23.1536 | 22.1275 | [16 empty] | 7.127 | 0.042
116 | 23.353 | 24.933 | 23.353 | 0.04 | 23.3532 | 7.1427 | 23.3532 | 0.11612 | 23.3532 | 0.03959 | 23.3532 | 22.1427 | [16 empty] | 7.143 | 0.04
117 | 23.553 | 24.934 | 23.553 | 0.032 | 23.5528 | 7.1625 | 23.5528 | 0.11712 | 23.5528 | 0.03157 | 23.5528 | 22.1625 | [16 empty] | 7.162 | 0.032
118 | 23.752 | 24.935 | 23.752 | 0.03 | 23.7524 | 7.1864 | 23.7524 | 0.11832 | 23.7524 | 0.02982 | 23.7524 | 22.1864 | [16 empty] | 7.186 | 0.03
119 | 23.952 | 24.935 | 23.952 | 0.03 | 23.952 | 7.2045 | 23.952 | 0.11923 | 23.952 | 0.02987 | 23.952 | 22.2045 | [16 empty] | 7.204 | 0.03
120 | 24.152 | 24.935 | 24.152 | 0.03 | 24.1516 | 7.2228 | 24.1516 | 0.12015 | 24.1516 | 0.02968 | 24.1516 | 22.2228 | [16 empty] | 7.223 | 0.03
121 | 24.351 | 24.936 | 24.351 | 0.027 | 24.3512 | 7.2417 | 24.3512 | 0.12111 | 24.3512 | 0.02691 | 24.3512 | 22.2417 | [16 empty] | 7.242 | 0.027
122 | 24.551 | 24.937 | 24.551 | 0.025 | 24.5508 | 7.2556 | 24.5508 | 0.12181 | 24.5508 | 0.0255 | 24.5508 | 22.2556 | [16 empty] | 7.256 | 0.025
123 | 24.75 | 24.938 | 24.75 | 0.023 | 24.7504 | 7.2801 | 24.7504 | 0.12304 | 24.7504 | 0.02293 | 24.7504 | 22.2801 | [16 empty] | 7.28 | 0.023
124 | 24.95 | 24.939 | 24.95 | 0.02 | 24.95 | 7.3003 | 24.95 | 0.12406 | 24.95 | 0.02045 | 24.95 | 22.3003 | [16 empty] | 7.3 | 0.02
125 | 25.15 | 24.939 | 25.15 | 0.019 | 25.1496 | 7.3203 | 25.1496 | 0.12507 | 25.1496 | 0.01901 | 25.1496 | 22.3203 | [16 empty] | 7.32 | 0.019
126 | 25.349 | 24.939 | 25.349 | 0.02 | 25.3492 | 7.3402 | 25.3492 | 0.12607 | 25.3492 | 0.02007 | 25.3492 | 22.3402 | [16 empty] | 7.34 | 0.02
127 | 25.549 | 24.94 | 25.549 | 0.019 | 25.5488 | 7.3546 | 25.5488 | 0.1268 | 25.5488 | 0.01933 | 25.5488 | 22.3546 | [16 empty] | 7.355 | 0.019
128 | 25.748 | 24.941 | 25.748 | 0.021 | 25.7484 | 7.379 | 25.7484 | 0.12803 | 25.7484 | 0.02089 | 25.7484 | 22.379 | [16 empty] | 7.379 | 0.021
129 | 25.948 | 24.941 | 25.948 | 0.023 | 25.948 | 7.3989 | 25.948 | 0.12903 | 25.948 | 0.0233 | 25.948 | 22.3989 | [16 empty] | 7.399 | 0.023
130 | 26.148 | 24.942 | 26.148 | 0.025 | 26.1476 | 7.4196 | 26.1476 | 0.13007 | 26.1476 | 0.02466 | 26.1476 | 22.4196 | [16 empty] | 7.42 | 0.025
131 | 26.347 | 24.943 | 26.347 | 0.027 | 26.3472 | 7.441 | 26.3472 | 0.13115 | 26.3472 | 0.02656 | 26.3472 | 22.441 | [16 empty] | 7.441 | 0.027
132 | 26.547 | 24.943 | 26.547 | 0.023 | 26.5468 | 7.462 | 26.5468 | 0.13221 | 26.5468 | 0.02332 | 26.5468 | 22.462 | [16 empty] | 7.462 | 0.023
133 | 26.746 | 24.943 | 26.746 | 0.02 | 26.7464 | 7.4774 | 26.7464 | 0.13299 | 26.7464 | 0.02008 | 26.7464 | 22.4774 | [16 empty] | 7.477 | 0.02
134 | 26.946 | 24.944 | 26.946 | 0.018 | 26.946 | 7.5023 | 26.946 | 0.13425 | 26.946 | 0.0179 | 26.946 | 22.5023 | [16 empty] | 7.502 | 0.018
135 | 27.146 | 24.945 | 27.146 | 0.019 | 27.1456 | 7.5234 | 27.1456 | 0.13531 | 27.1456 | 0.01932 | 27.1456 | 22.5234 | [16 empty] | 7.523 | 0.019
136 | 27.345 | 24.946 | 27.345 | 0.019 | 27.3452 | 7.5441 | 27.3452 | 0.13635 | 27.3452 | 0.01938 | 27.3452 | 22.5441 | [16 empty] | 7.544 | 0.019
137 | 27.545 | 24.946 | 27.545 | 0.017 | 27.5448 | 7.564 | 27.5448 | 0.13735 | 27.5448 | 0.01671 | 27.5448 | 22.564 | [16 empty] | 7.564 | 0.017
138 | 27.744 | 24.946 | 27.744 | 0.016 | 27.7444 | 7.5798 | 27.7444 | 0.13815 | 27.7444 | 0.01556 | 27.7444 | 22.5798 | [16 empty] | 7.58 | 0.016
139 | 27.944 | 24.947 | 27.944 | 0.015 | 27.944 | 7.6069 | 27.944 | 0.13951 | 27.944 | 0.01525 | 27.944 | 22.6069 | [16 empty] | 7.607 | 0.015
140 | 28.144 | 24.948 | 28.144 | 0.017 | 28.1436 | 7.6283 | 28.1436 | 0.1406 | 28.1436 | 0.01718 | 28.1436 | 22.6283 | [16 empty] | 7.628 | 0.017
141 | 28.343 | 24.948 | 28.343 | 0.015 | 28.3432 | 7.6491 | 28.3432 | 0.14164 | 28.3432 | 0.01497 | 28.3432 | 22.6491 | [16 empty] | 7.649 | 0.015
142 | 28.543 | 24.948 | 28.543 | 0.014 | 28.5428 | 7.6646 | 28.5428 | 0.14242 | 28.5428 | 0.0144 | 28.5428 | 22.6646 | [16 empty] | 7.665 | 0.014
143 | 28.742 | 24.949 | 28.742 | 0.014 | 28.7424 | 7.6846 | 28.7424 | 0.14343 | 28.7424 | 0.01419 | 28.7424 | 22.6846 | [16 empty] | 7.685 | 0.014
144 | 28.942 | 24.95 | 28.942 | 0.016 | 28.942 | 7.7093 | 28.942 | 0.14468 | 28.942 | 0.01627 | 28.942 | 22.7093 | [16 empty] | 7.709 | 0.016
145 | 29.142 | 24.95 | 29.142 | 0.018 | 29.1416 | 7.7296 | 29.1416 | 0.1457 | 29.1416 | 0.01773 | 29.1416 | 22.7296 | [16 empty] | 7.73 | 0.018
146 | 29.341 | 24.951 | 29.341 | 0.019 | 29.3412 | 7.7506 | 29.3412 | 0.14676 | 29.3412 | 0.01909 | 29.3412 | 22.7506 | [16 empty] | 7.751 | 0.019
147 | 29.541 | 24.951 | 29.541 | 0.021 | 29.5408 | 7.7713 | 29.5408 | 0.1478 | 29.5408 | 0.02051 | 29.5408 | 22.7713 | [16 empty] | 7.771 | 0.021
148 | 29.74 | 24.952 | 29.74 | 0.023 | 29.7404 | 7.7863 | 29.7404 | 0.14856 | 29.7404 | 0.02339 | 29.7404 | 22.7863 | [16 empty] | 7.786 | 0.023
149 | 29.94 | 24.952 | 29.94 | 0.025 | 29.94 | 7.8056 | 29.94 | 0.14953 | 29.94 | 0.0246 | 29.94 | 22.8056 | [16 empty] | 7.806 | 0.025
150 | 30.14 | 24.953 | 30.14 | 0.03 | 30.1396 | 7.8295 | 30.1396 | 0.15074 | 30.1396 | 0.02986 | 30.1396 | 22.8295 | [16 empty] | 7.83 | 0.03
151 | 30.339 | 24.954 | 30.339 | 0.035 | 30.3392 | 7.8494 | 30.3392 | 0.15174 | 30.3392 | 0.03495 | 30.3392 | 22.8494 | [16 empty] | 7.849 | 0.035
152 | 30.539 | 24.954 | 30.539 | 0.018 | 30.5388 | 7.8686 | 30.5388 | 0.15271 | 30.5388 | 0.01838 | 30.5388 | 22.8686 | [16 empty] | 7.869 | 0.018
153 | 30.738 | 24.955 | 30.738 | 0.014 | 30.7384 | 7.8888 | 30.7384 | 0.15372 | 30.7384 | 0.01367 | 30.7384 | 22.8888 | [16 empty] | 7.889 | 0.014
154 | 30.938 | 24.955 | 30.938 | 0.013 | 30.938 | 7.9043 | 30.938 | 0.15451 | 30.938 | 0.0129 | 30.938 | 22.9043 | [16 empty] | 7.904 | 0.013
155 | 31.138 | 24.956 | 31.138 | 0.014 | 31.1376 | 7.9298 | 31.1376 | 0.15579 | 31.1376 | 0.01417 | 31.1376 | 22.9298 | [16 empty] | 7.93 | 0.014
156 | 31.337 | 24.956 | 31.337 | 0.017 | 31.3372 | 7.9498 | 31.3372 | 0.1568 | 31.3372 | 0.0166 | 31.3372 | 22.9498 | [16 empty] | 7.95 | 0.017
157 | 31.537 | 24.957 | 31.537 | 0.018 | 31.5368 | 7.9693 | 31.5368 | 0.15778 | 31.5368 | 0.01779 | 31.5368 | 22.9693 | [16 empty] | 7.969 | 0.018
158 | 31.736 | 24.957 | 31.736 | 0.02 | 31.7364 | 7.9842 | 31.7364 | 0.15853 | 31.7364 | 0.02016 | 31.7364 | 22.9842 | [16 empty] | 7.984 | 0.02
159 | 31.936 | 24.958 | 31.936 | 0.022 | 31.936 | 8.0042 | 31.936 | 0.15954 | 31.936 | 0.02225 | 31.936 | 23.0042 | [16 empty] | 8.004 | 0.022
160 | 32.136 | 24.959 | 32.136 | 0.026 | 32.1356 | 8.0299 | 32.1356 | 0.16084 | 32.1356 | 0.02635 | 32.1356 | 23.0299 | [16 empty] | 8.03 | 0.026
161 | 32.335 | 24.958 | 32.335 | 0.03 | 32.3352 | 8.0509 | 32.3352 | 0.1619 | 32.3352 | 0.03026 | 32.3352 | 23.0509 | [16 empty] | 8.051 | 0.03
162 | 32.535 | 24.959 | 32.535 | 0.032 | 32.5348 | 8.0717 | 32.5348 | 0.16294 | 32.5348 | 0.03242 | 32.5348 | 23.0717 | [16 empty] | 8.072 | 0.032
163 | 32.734 | 24.96 | 32.734 | 0.033 | 32.7344 | 8.0918 | 32.7344 | 0.16396 | 32.7344 | 0.03311 | 32.7344 | 23.0918 | [16 empty] | 8.092 | 0.033
164 | 32.934 | 24.96 | 32.934 | 0.033 | 32.934 | 8.1064 | 32.934 | 0.1647 | 32.934 | 0.03277 | 32.934 | 23.1064 | [16 empty] | 8.106 | 0.033
165 | 33.134 | 24.96 | 33.134 | 0.034 | 33.1336 | 8.1269 | 33.1336 | 0.16573 | 33.1336 | 0.03432 | 33.1336 | 23.1269 | [16 empty] | 8.127 | 0.034
166 | 33.333 | 24.961 | 33.333 | 0.036 | 33.3332 | 8.1526 | 33.3332 | 0.16702 | 33.3332 | 0.03583 | 33.3332 | 23.1526 | [16 empty] | 8.153 | 0.036
167 | 33.533 | 24.962 | 33.533 | 0.036 | 33.5328 | 8.1724 | 33.5328 | 0.16802 | 33.5328 | 0.03634 | 33.5328 | 23.1724 | [16 empty] | 8.172 | 0.036
168 | 33.732 | 24.962 | 33.732 | 0.033 | 33.7324 | 8.1932 | 33.7324 | 0.16907 | 33.7324 | 0.03264 | 33.7324 | 23.1932 | [16 empty] | 8.193 | 0.033
169 | 33.932 | 24.962 | 33.932 | -0.034 | 33.932 | 8.2089 | 33.932 | 0.16986 | 33.932 | -0.03378 | 33.932 | 23.2089 | [16 empty] | 8.209 | -0.034
170 | 34.132 | 24.963 | 34.132 | -0.052 | 34.1316 | 8.2296 | 34.1316 | 0.17091 | 34.1316 | -0.05183 | 34.1316 | 23.2296 | [16 empty] | 8.23 | -0.052
171 | 34.331 | 24.963 | 34.331 | -0.056 | 34.3312 | 8.255 | 34.3312 | 0.17218 | 34.3312 | -0.05557 | 34.3312 | 23.255 | [16 empty] | 8.255 | -0.056
172 | 34.531 | 24.964 | 34.531 | -0.056 | 34.5308 | 8.2746 | 34.5308 | 0.17317 | 34.5308 | -0.05615 | 34.5308 | 23.2746 | [16 empty] | 8.275 | -0.056
173 | 34.73 | 24.964 | 34.73 | -0.056 | 34.7304 | 8.2939 | 34.7304 | 0.17414 | 34.7304 | -0.05557 | 34.7304 | 23.2939 | [16 empty] | 8.294 | -0.056
174 | 34.93 | 24.965 | 34.93 | -0.056 | 34.93 | 8.3132 | 34.93 | 0.17512 | 34.93 | -0.05583 | 34.93 | 23.3132 | [16 empty] | 8.313 | -0.056
175 | 35.13 | 24.965 | 35.13 | -0.055 | 35.1296 | 8.3279 | 35.1296 | 0.17586 | 35.1296 | -0.05547 | 35.1296 | 23.3279 | [16 empty] | 8.328 | -0.055
176 | 35.329 | 24.965 | 35.329 | -0.055 | 35.3292 | 8.3533 | 35.3292 | 0.17714 | 35.3292 | -0.05522 | 35.3292 | 23.3533 | [16 empty] | 8.353 | -0.055
177 | 35.529 | 24.966 | 35.529 | -0.056 | 35.5288 | 8.373 | 35.5288 | 0.17813 | 35.5288 | -0.05606 | 35.5288 | 23.373 | [16 empty] | 8.373 | -0.056
178 | 35.728 | 24.966 | 35.728 | -0.057 | 35.7284 | 8.3922 | 35.7284 | 0.1791 | 35.7284 | -0.05686 | 35.7284 | 23.3922 | [16 empty] | 8.392 | -0.057
179 | 35.928 | 24.967 | 35.928 | -0.056 | 35.928 | 8.4105 | 35.928 | 0.18002 | 35.928 | -0.05573 | 35.928 | 23.4105 | [16 empty] | 8.411 | -0.056
180 | 36.128 | 24.967 | 36.128 | -0.057 | 36.1276 | 8.4248 | 36.1276 | 0.18074 | 36.1276 | -0.05695 | 36.1276 | 23.4248 | [16 empty] | 8.425 | -0.057
181 | 36.327 | 24.967 | 36.327 | -0.057 | 36.3272 | 8.4483 | 36.3272 | 0.18193 | 36.3272 | -0.05664 | 36.3272 | 23.4483 | [16 empty] | 8.448 | -0.057
182 | 36.527 | 24.968 | 36.527 | -0.057 | 36.5268 | 8.4672 | 36.5268 | 0.18288 | 36.5268 | -0.05728 | 36.5268 | 23.4672 | [16 empty] | 8.467 | -0.057
183 | 36.726 | 24.968 | 36.726 | -0.056 | 36.7264 | 8.4872 | 36.7264 | 0.18389 | 36.7264 | -0.0561 | 36.7264 | 23.4872 | [16 empty] | 8.487 | -0.056
184 | 36.926 | 24.968 | 36.926 | -0.056 | 36.926 | 8.5075 | 36.926 | 0.18491 | 36.926 | -0.05644 | 36.926 | 23.5075 | [16 empty] | 8.508 | -0.056
185 | 37.126 | 24.969 | 37.126 | -0.057 | 37.1256 | 8.5275 | 37.1256 | 0.18592 | 37.1256 | -0.0571 | 37.1256 | 23.5275 | [16 empty] | 8.528 | -0.057
186 | 37.325 | 24.969 | 37.325 | -0.057 | 37.3252 | 8.5423 | 37.3252 | 0.18667 | 37.3252 | -0.05699 | 37.3252 | 23.5423 | [16 empty] | 8.542 | -0.057
187 | 37.525 | 24.97 | 37.525 | -0.057 | 37.5248 | 8.5667 | 37.5248 | 0.1879 | 37.5248 | -0.05698 | 37.5248 | 23.5667 | [16 empty] | 8.567 | -0.057
188 | 37.724 | 24.97 | 37.724 | -0.058 | 37.7244 | 8.5865 | 37.7244 | 0.1889 | 37.7244 | -0.05773 | 37.7244 | 23.5865 | [16 empty] | 8.587 | -0.058
189 | 37.924 | 24.97 | 37.924 | -0.057 | 37.924 | 8.6065 | 37.924 | 0.1899 | 37.924 | -0.05733 | 37.924 | 23.6065 | [16 empty] | 8.607 | -0.057
190 | 38.124 | 24.971 | 38.124 | -0.058 | 38.1236 | 8.6274 | 38.1236 | 0.19096 | 38.1236 | -0.05833 | 38.1236 | 23.6274 | [16 empty] | 8.627 | -0.058
191 | 38.323 | 24.971 | 38.323 | -0.057 | 38.3232 | 8.6435 | 38.3232 | 0.19177 | 38.3232 | -0.0571 | 38.3232 | 23.6435 | [16 empty] | 8.644 | -0.057
192 | 38.523 | 24.971 | 38.523 | -0.057 | 38.5228 | 8.6697 | 38.5228 | 0.19309 | 38.5228 | -0.05745 | 38.5228 | 23.6697 | [16 empty] | 8.67 | -0.057
193 | 38.722 | 24.972 | 38.722 | -0.058 | 38.7224 | 8.6897 | 38.7224 | 0.1941 | 38.7224 | -0.0585 | 38.7224 | 23.6897 | [16 empty] | 8.69 | -0.058
194 | 38.922 | 24.972 | 38.922 | -0.057 | 38.922 | 8.71 | 38.922 | 0.19512 | 38.922 | -0.05655 | 38.922 | 23.71 | [16 empty] | 8.71 | -0.057
195 | 39.122 | 24.972 | 39.122 | -0.057 | 39.1216 | 8.7313 | 39.1216 | 0.19619 | 39.1216 | -0.05685 | 39.1216 | 23.7313 | [16 empty] | 8.731 | -0.057
196 | 39.321 | 24.973 | 39.321 | -0.058 | 39.3212 | 8.7464 | 39.3212 | 0.19695 | 39.3212 | -0.05753 | 39.3212 | 23.7464 | [16 empty] | 8.746 | -0.058
197 | 39.521 | 24.973 | 39.521 | -0.057 | 39.5208 | 8.7714 | 39.5208 | 0.19821 | 39.5208 | -0.05677 | 39.5208 | 23.7714 | [16 empty] | 8.771 | -0.057
198 | 39.72 | 24.973 | 39.72 | -0.057 | 39.7204 | 8.7925 | 39.7204 | 0.19928 | 39.7204 | -0.0573 | 39.7204 | 23.7925 | [16 empty] | 8.793 | -0.057
199 | 39.92 | 24.973 | 39.92 | -0.058 | 39.92 | 8.8139 | 39.92 | 0.20036 | 39.92 | -0.05774 | 39.92 | 23.8139 | [16 empty] | 8.814 | -0.058
200 | 40.12 | 24.974 | 40.12 | -0.058 | 40.1196 | 8.835 | 40.1196 | 0.20142 | 40.1196 | -0.05816 | 40.1196 | 23.835 | [16 empty] | 8.835 | -0.058
201 | 40.319 | 24.975 | 40.319 | -0.059 | 40.3192 | 8.8555 | 40.3192 | 0.20245 | 40.3192 | -0.05857 | 40.3192 | 23.8555 | [16 empty] | 8.855 | -0.059
202 | 40.519 | 24.975 | 40.519 | -0.059 | 40.5188 | 8.8707 | 40.5188 | 0.20322 | 40.5188 | -0.05931 | 40.5188 | 23.8707 | [16 empty] | 8.871 | -0.059
203 | 40.718 | 24.975 | 40.718 | -0.058 | 40.7184 | 8.8952 | 40.7184 | 0.20445 | 40.7184 | -0.05767 | 40.7184 | 23.8952 | [16 empty] | 8.895 | -0.058
204 | 40.918 | 24.975 | 40.918 | -0.057 | 40.918 | 8.9148 | 40.918 | 0.20544 | 40.918 | -0.05674 | 40.918 | 23.9148 | [16 empty] | 8.915 | -0.057
205 | 41.118 | 24.976 | 41.118 | -0.058 | 41.1176 | 8.9349 | 41.1176 | 0.20645 | 41.1176 | -0.05825 | 41.1176 | 23.9349 | [16 empty] | 8.935 | -0.058
206 | 41.317 | 24.976 | 41.317 | -0.057 | 41.3172 | 8.9557 | 41.3172 | 0.2075 | 41.3172 | -0.05745 | 41.3172 | 23.9557 | [16 empty] | 8.956 | -0.057
207 | 41.517 | 24.976 | 41.517 | -0.058 | 41.5168 | 8.9758 | 41.5168 | 0.20852 | 41.5168 | -0.05776 | 41.5168 | 23.9758 | [16 empty] | 8.976 | -0.058
208 | 41.716 | 24.977 | 41.716 | -0.057 | 41.7164 | 8.9954 | 41.7164 | 0.2095 | 41.7164 | -0.057 | 41.7164 | 23.9954 | [16 empty] | 8.995 | -0.057
209 | 41.916 | 24.977 | 41.916 | -0.057 | 41.916 | 9.0141 | 41.916 | 0.21045 | 41.916 | -0.05703 | 41.916 | 24.0141 | [16 empty] | 9.014 | -0.057
210 | 42.116 | 24.977 | 42.116 | -0.057 | 42.1156 | 9.0335 | 42.1156 | 0.21142 | 42.1156 | -0.05709 | 42.1156 | 24.0335 | [16 empty] | 9.033 | -0.057
211 | 42.315 | 24.977 | 42.315 | -0.057 | 42.3152 | 9.0527 | 42.3152 | 0.21239 | 42.3152 | -0.05697 | 42.3152 | 24.0527 | [16 empty] | 9.053 | -0.057
212 | 42.515 | 24.978 | 42.515 | -0.057 | 42.5148 | 9.0719 | 42.5148 | 0.21336 | 42.5148 | -0.05657 | 42.5148 | 24.0719 | [16 empty] | 9.072 | -0.057
213 | 42.714 | 24.978 | 42.714 | -0.056 | 42.7144 | 9.0921 | 42.7144 | 0.21438 | 42.7144 | -0.05606 | 42.7144 | 24.0921 | [16 empty] | 9.092 | -0.056
214 | 42.914 | 24.979 | 42.914 | -0.056 | 42.914 | 9.1126 | 42.914 | 0.21541 | 42.914 | -0.05558 | 42.914 | 24.1126 | [16 empty] | 9.113 | -0.056
215 | 43.114 | 24.979 | 43.114 | -0.057 | 43.1136 | 9.1329 | 43.1136 | 0.21643 | 43.1136 | -0.05736 | 43.1136 | 24.1329 | [16 empty] | 9.133 | -0.057
216 | 43.313 | 24.979 | 43.313 | -0.056 | 43.3132 | 9.1527 | 43.3132 | 0.21743 | 43.3132 | -0.05629 | 43.3132 | 24.1527 | [16 empty] | 9.153 | -0.056
217 | 43.513 | 24.979 | 43.513 | -0.056 | 43.5128 | 9.1674 | 43.5128 | 0.21817 | 43.5128 | -0.05569 | 43.5128 | 24.1674 | [16 empty] | 9.167 | -0.056
218 | 43.712 | 24.98 | 43.712 | -0.057 | 43.7124 | 9.1919 | 43.7124 | 0.21941 | 43.7124 | -0.0573 | 43.7124 | 24.1919 | [16 empty] | 9.192 | -0.057
219 | 43.912 | 24.98 | 43.912 | -0.057 | 43.912 | 9.2118 | 43.912 | 0.22041 | 43.912 | -0.05692 | 43.912 | 24.2118 | [16 empty] | 9.212 | -0.057
220 | 44.112 | 24.98 | 44.112 | -0.058 | 44.1116 | 9.2325 | 44.1116 | 0.22145 | 44.1116 | -0.05827 | 44.1116 | 24.2325 | [16 empty] | 9.232 | -0.058
221 | 44.311 | 24.981 | 44.311 | -0.058 | 44.3112 | 9.2537 | 44.3112 | 0.22252 | 44.3112 | -0.05754 | 44.3112 | 24.2537 | [16 empty] | 9.254 | -0.058
222 | 44.511 | 24.981 | 44.511 | -0.058 | 44.5108 | 9.2693 | 44.5108 | 0.22331 | 44.5108 | -0.0584 | 44.5108 | 24.2693 | [16 empty] | 9.269 | -0.058
223 | 44.71 | 24.981 | 44.71 | -0.057 | 44.7104 | 9.2944 | 44.7104 | 0.22457 | 44.7104 | -0.05665 | 44.7104 | 24.2944 | [16 empty] | 9.294 | -0.057
224 | 44.91 | 24.981 | 44.91 | -0.057 | 44.91 | 9.3139 | 44.91 | 0.22556 | 44.91 | -0.05679 | 44.91 | 24.3139 | [16 empty] | 9.314 | -0.057
225 | 45.11 | 24.982 | 45.11 | -0.057 | 45.1096 | 9.3346 | 45.1096 | 0.2266 | 45.1096 | -0.05665 | 45.1096 | 24.3346 | [16 empty] | 9.335 | -0.057
226 | 45.309 | 24.982 | 45.309 | -0.057 | 45.3092 | 9.3546 | 45.3092 | 0.22761 | 45.3092 | -0.0569 | 45.3092 | 24.3546 | [16 empty] | 9.355 | -0.057
227 | 45.509 | 24.982 | 45.509 | -0.057 | 45.5088 | 9.369 | 45.5088 | 0.22834 | 45.5088 | -0.05726 | 45.5088 | 24.369 | [16 empty] | 9.369 | -0.057
228 | 45.708 | 24.982 | 45.708 | -0.057 | 45.7084 | 9.3892 | 45.7084 | 0.22935 | 45.7084 | -0.05727 | 45.7084 | 24.3892 | [16 empty] | 9.389 | -0.057
229 | 45.908 | 24.983 | 45.908 | -0.058 | 45.908 | 9.4154 | 45.908 | 0.23067 | 45.908 | -0.05759 | 45.908 | 24.4154 | [16 empty] | 9.415 | -0.058
230 | 46.108 | 24.983 | 46.108 | -0.057 | 46.1076 | 9.4359 | 46.1076 | 0.23171 | 46.1076 | -0.057 | 46.1076 | 24.4359 | [16 empty] | 9.436 | -0.057
231 | 46.307 | 24.984 | 46.307 | -0.057 | 46.3072 | 9.4559 | 46.3072 | 0.23271 | 46.3072 | -0.05665 | 46.3072 | 24.4559 | [16 empty] | 9.456 | -0.057
232 | 46.507 | 24.984 | 46.507 | -0.056 | 46.5068 | 9.4704 | 46.5068 | 0.23344 | 46.5068 | -0.05622 | 46.5068 | 24.4704 | [16 empty] | 9.47 | -0.056
233 | 46.706 | 24.984 | 46.706 | -0.057 | 46.7064 | 9.4896 | 46.7064 | 0.23441 | 46.7064 | -0.05707 | 46.7064 | 24.4896 | [16 empty] | 9.49 | -0.057
234 | 46.906 | 24.984 | 46.906 | -0.057 | 46.906 | 9.5134 | 46.906 | 0.23561 | 46.906 | -0.05705 | 46.906 | 24.5134 | [16 empty] | 9.513 | -0.057
235 | 47.106 | 24.984 | 47.106 | -0.057 | 47.1056 | 9.5328 | 47.1056 | 0.23659 | 47.1056 | -0.057 | 47.1056 | 24.5328 | [16 empty] | 9.533 | -0.057
236 | 47.305 | 24.985 | 47.305 | -0.056 | 47.3052 | 9.548 | 47.3052 | 0.23736 | 47.3052 | -0.0555 | 47.3052 | 24.548 | [16 empty] | 9.548 | -0.056
237 | 47.505 | 24.985 | 47.505 | -0.056 | 47.5048 | 9.5728 | 47.5048 | 0.23861 | 47.5048 | -0.05595 | 47.5048 | 24.5728 | [16 empty] | 9.573 | -0.056
238 | 47.704 | 24.985 | 47.704 | -0.057 | 47.7044 | 9.5871 | 47.7044 | 0.23933 | 47.7044 | -0.05655 | 47.7044 | 24.5871 | [16 empty] | 9.587 | -0.057